## Slide 1
38655 BMED-2300-02
Lecture 4: Convolution
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
January 26, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: Outline

## Slide 5: First Push Must Be an Impulse
Notes: first driving force Why planets revolve around the sun
"first impetus"

## Slide 6: Impulse to Momentum Change

## Slide 7: Impulse to Momentum Change

## Slide 8: Impulse as an Overall Effect

## Slide 9: Regardless of Functional Shapes
A forcing/driving function d(t) as an impulse
d(t) gets taller and narrower as   0 but the area under the curve remains the same

## Slide 10: Relying on the Limiting Process

## Slide 11: Given the Effect of an Impulse
Why Does It Need a Limiting Process?
Idealized to be thorough, and perfect
What is the shape of the delta function?
We don’t know, and who cares? And if you do
All shapes are possible, and equally possible?
Hence, we have a probabilistic description, and we know for sure only if we measure it!
Does it sound like quantum mechanics?

## Slide 12: Dirac δ Function
The unit impulse function is an example of a generalized function and is usually called the Dirac delta function
The effect matters but the shape does not
And, we have the discrete version:

## Slide 13: Mean Value Theorem

## Slide 14: Representing a Continuous Function
The product of the delta function and a continuous function f can be measured to give a unique result
Therefore, a sample is recorded

## Slide 15: Discrete δ Function

## Slide 16: As a Sum of Rect/Gate Functions

## Slide 17: As a Sum of Deltas

## Slide 18: Representing a Discrete Function

## Slide 19: Continuous Versus Discrete

## Slide 20: Impulse to Shift-Invariant System
Amplitude h(n)
Time n

## Slide 21: Linear System Output (Discrete)
h
x(n)
y(n)
h
δ(n)
h(n)
h
δ(n-k)
h(n-k)
h
x(k)δ(n-k)
x(k)h(n-k)
h
x(k)δ(n-k)
x(k)h(n-k)
h
x(n)
x(k)h(n-k)

## Slide 22: System Output (Continuous)
h
x(t)
y(t)
h
δ(t)
h(t)
h
δ(t-τ)
h(t-τ)
h
x(τ)δ(t-τ)
x(τ)h(t-τ)
h
x(τ)δ(t-τ)dτ
x(τ)h(t-τ)dτ
h
x(t)
x(τ)h(t-τ)dτ

## Slide 23: Output as Convolution
Express Input as Many Impulses
Have the Response to Each Impulse
Sum All the Responses to Form the Output

## Slide 24: Hands-on Example

## Slide 25: Hands-on Result
>>
x=[5 4 3 2 1];
h=[1 2 3 4 5];
y=conv(x,h);
plot(y); ylim([0 100]);
>>

## Slide 28: Minds-on Example
Convolve the following two functions:
Replace t with t in f(t) and g(t)
Choose to flip and slide g(t) since it is simpler and symmetric
Functions may overlap:
3
t
2
f(t)
2
-2 + t
2 + t
g(t-t)
*
2
2
t
f(t)
-2
2
3
t
g(t)
t= t

## Slide 29: 1st & 2nd of 5 Steps
3
t
2
f(t)
2
-2 +t
2 + t
g(t-t)
3
t
2
f(t)
2
-2 + t
2 + t
g(t-t)
    Case I: t < -2
    No overlap
    Area under the product being zero
    Case II: -2  t < 0
    g(t) partially overlaps f(t)
    Area under the product is
t= t

## Slide 30: Rest 3 of 5 Steps
  Case III: 0  t < 2
  g(t) contains f(t)
  Case IV: 2  t < 4
  Partial overlap again
  Case V: t  4
  Area under their product is zero
3
t
2
f(t)
2
-2 + t
2 + t
g(t-t)
3
t
2
f(t)
2
-2 + t
2 + t
g(t-t)

## Slide 31: Whole Solution
t
y(t)
0
2
4
-2
6

## Slide 32: Example: RC Circuit Analysis

## Slide 33: Discrete Convolution in 2D

## Slide 34: Example: Image Blurring

## Slide 35: Example: PSF for Imaging
Ideal
Detector
Physical Reason: Each small bright spot can only be focused into an Airy disk.

## Slide 36: Example: Inverse Filtering
Image
PSF
Blurred
FFT-1
FFT
FFT
In the Fourier Domain

## Slide 37: Image Deconvolution

## Slide 38: Convolution Properties
Commutative: h(n)*f(n)=f(n)*h(n)
Associative: h(n)*[f(n)*g(n)]=[h(n)*f(n)]*g(n)
Distributive: h(n)*[f(n)+g(n)]=h(n)*f(n)+h(n)*g(n)
The same as the multiplication, and is indeed the multiplication in disguise, as you will see in Fourier Analysis!
Quiz: If y(n)=h(n)*x(n), prove y(n-k)=h(n)*x(n-k).
This can be immediately justified based on the meaning of convolution!

## Slide 39: Proof of Commutative Property

## Slide 40: Convolution vs Cross-correlation
*

## Slide 41: Convolution vs Cross-correlation

## Slide 42: Cauchy–Schwarz Inequality

## Slide 43: Example: Signal Detection
http://www.michw.com/tag/matlab/

## Slide 44: Example: Feature Extraction

## Slide 45: Example: Edge Detection
The Canny edge detector uses a multi-stage algorithm to detect a wide range of edges in images.

## Slide 46: Summary
Linear System → Shift-invariant → Convolution

## Slide 47: Homework for BB-04
Suppose RC=1s, please use MatLab to plot the first row.
Due date: One week from now (by midnight next Friday). Please upload your report to MLS, including both the script and the figures in a word file.