## Slide 1
38655 BMED-2300-02
Lecture 6: Fourier Transform
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
February 2, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: As a Sum of Impulses

## Slide 4: As Sum of Waves

## Slide 5
Fourier Series (Real Form)

## Slide 6
Fourier Series (Complex Form)
Unit Period

## Slide 7
When Period Isn’t Unit

## Slide 8
Common Sense
Simple versus Complex Methods
Divide and Conquer Strategies

## Slide 9
Outline

## Slide 10
When Period Isn’t Unit

## Slide 11
Inserting Coefficients
Right Hand Side: Inner products at infinitely many discrete frequency points u=n/T, and for a sufficiently large T and all integer n the interval for u is dense on the whole number axis, and the distance between adjacent frequencies is infinitesimal Δu=1/T.

## Slide 12
Inner products at many discrete points u=n/T, and for a sufficiently large T and all integer n the interval for u is dense on the whole axis, and the distance between adjacent frequencies is infinitesimal Δu=1/T.
-T/2
T/2
u=n/T
u
Δu=1/T

## Slide 13
Forward & Inverse Transforms
(since u=n/T)
(since du=1/T)

## Slide 14: Rectangular/Gate Function

## Slide 15: Periodization

## Slide 16: As Period Gets Larger

## Slide 17
Fourier Transform Pair

## Slide 18
Example 1: Gate Function

## Slide 19: Sinc Function

## Slide 20: Example 2: Triangle Function

## Slide 21: Sinc2

## Slide 22
More Examples

## Slide 23: Basic Properties

## Slide 24: Linearity

## Slide 25: Shift

## Slide 26: Scaling

## Slide 27: Example

## Slide 28: Derivation

## Slide 29: Paired Combs

## Slide 30: Convolution Theorem

## Slide 31: Why?

## Slide 32: Why?
For a shift-invariant linear system, a sinusoidal input will only generate a sinusoidal output at the same frequency. Therefore, a convolution in the t-domain must be a multiplication in the Fourier domain.
The above invariability only holds for sinusoidal functions. Therefore, the convolution theorem exists only with the Fourier transform.
If you are interested, you could write a paper out of these comments.

## Slide 33: Parseval's Identity

## Slide 34: Why?

## Slide 35: 2D Fourier Transform

## Slide 36: Noise Suppression
FT
IFT

## Slide 37: Low-/High-pass Filtering

## Slide 38: Example: 2D Rectangle Function
Rectangle of Sides X and Y, Centered at Origin

## Slide 39: Rotation Property

## Slide 40: Why?

## Slide 42
Homework for BB06
Read about the uncertainty property of Fourier transform, and write no more than three sentences to explain what it is.
Analytically compute the Fourier transform of exp(bt)u(-t), where b is positive, u(t) is the step function (u(t)=1 for positive t and 0 otherwise).
Due date: One week from now (by midnight next Friday). Please upload your report to MLS.
https://www.youtube.com/watch?v=1hX_MUh8wfk