## Slide 1
38655 BMED-2300-02
Lecture 8: Discrete FT
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
February 9, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: Sampling Theorem

## Slide 4: What If P=2W

## Slide 5: Derivation of the Sampling Theorem
https://dsp.stackexchange.com/questions/37480/formulating-a-function-on-matlab-for-the-shannon-interpolation-formula

## Slide 6: Good Case: True versus Sampled

## Slide 7: Bad Case: True versus Sampled

## Slide 8: Big Picture

## Slide 9: Signal Sampling
Continuous Signal
Shah Function (Impulse Train)
Sampled Function

## Slide 10: Spectral Duplication
Sampled Function
There will be no overlap if
Sampling
Frequency

## Slide 11: Nyquist Theorem
If
Aliasing
When can we recover F(u) from FS(u)?
Only if
(Nyquist Frequency)
We can use
Then
and
Sampling frequency must be greater than

## Slide 12: Why Non-unique?

## Slide 13: Digitization Not Finished Yet

## Slide 14: Discretizing Spectrum

## Slide 15: From Continuous to Discrete
f(t)
g(t)
F(t)
G(t)
Continuous
Discrete

## Slide 16: Big Picture

## Slide 17: Key Variables

## Slide 18: Direct Fourier Transform of

## Slide 19: Continuous FT of Sampled f(t)

## Slide 20: Sampling in the Fourier Domain

## Slide 21: Discrete Fourier Transform

## Slide 22: Use of Integer Indices

## Slide 23: Inverse Discrete Fourier Transform

## Slide 24: Why 1/N?

## Slide 25: Perspective 1: Discretization

## Slide 26: Perspective 2: Harmonics

## Slide 27: Orthonormal Basis

## Slide 28: Discrete FT in Different Notations
Vector of N Elements
Only Needs N Basis Functions
N Harmonic Orthogonal
Basis Functions Are Enough
Frequencies Differ by
Constant Increment
Forward & Inverse Transforms
Are Symmetric

## Slide 29: FFT
Fast Fourier Transform (FFT) is an efficient algorithm for performing a discrete Fourier transform
FFT published by Cooley & Tukey in 1965
In 1969, the 2048 point analysis of a seismic trace took 13 ½ hours. Using the FFT, the same task on the same machine took 2.4 seconds!

## Slide 30: FFT & IFFT

## Slide 31: Application 1: Discrete Convolution
https://www.mathworks.com/matlabcentral/answers/38066-difference-between-conv-ifft-fft-when-doing-convolution

## Slide 32: Circular Convolution

## Slide 33: Zero Padding

## Slide 34: Zero Padding Illustrated

## Slide 35: Further Reading

## Slide 36: Application 2: Spectral Analysis
Fs = 1e3;
t = 0:0.001:1‐0.001;
x = cos(2*pi*100*t)+sin(2*pi*202.5*t);
Plot(x(1:100));
https://www.mathworks.com/help/signal/ug/amplitude-estimation-and-zero-padding.html

## Slide 37: Without Zero Padding
xdft = fft(x);
xdft = xdft(1:length(x)/2+1);
xdft = xdft/length(x);
xdft(2:500) = 2*xdft(2:500);
freq = 0:Fs/length(x):Fs/2;
plot(freq,abs(xdft))
hold on
plot(freq,ones(length(x)/2+1,1),'LineWidth',2)
xlabel('Hz')
ylabel('Amplitude')
hold off

## Slide 38: Zero Padding
xdft = fft(x,2000);
xdft = xdft(1:length(xdft)/2+1);
xdft = xdft/length(x);
xdft(2:500) = 2*xdft(2:500);
freq =0:Fs/(2*length(x)):Fs/2;
plot(freq,abs(xdft))
hold on
plot(freq,ones(2*length(x)/2+1,1),'LineWidth',2)
xlabel('Hz')
ylabel('Amplitude')
hold off

## Slide 39: Note: Impossible into Possible

## Slide 40: Convergence Issue

## Slide 41: Increasingly Smaller, Not Enough

## Slide 42: Wheat & Chessboard Problem
Exponential growth never can go on very long in a finite space with finite resources.

## Slide 43
https://see.stanford.edu/Course/EE261
https://see.stanford.edu/materials/lsoftaee261/book-fall-07.pdf

## Slide 44
https://see.stanford.edu/Course/EE261
https://see.stanford.edu/materials/lsoftaee261/book-fall-07.pdf

## Slide 45: Art_X

## Slide 46
ArtX HW: Do an Overview Poster
Shift-invariant Linear System
Convolution
Fourier Series
Fourier Transform
Signal Processing
DFT & FFT
Periodic
Non-periodic
Function/System
Due Next Fri