## Slide 1
38655 BMED-2300-02
Lecture 11: Quality Assessment
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
February 27, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: 5th Chapter

## Slide 4: Outline
General Measures
MSE
KL Distance
SSIM
System Specific
Noise, SNR & CNR
Resolution (Spatial, Contrast, Temporal, Spectral)
Artifacts
Task Specific
Sensitivity & Specificity
  ROC & AUC
Human Observer
Hotelling Observer
Neural Network/Radiomics

## Slide 5: Mean Squared Error
Many yi
One θ

## Slide 6: More Variants

## Slide 7: Very Reasonable!

## Slide 8: Information Divergence
Kullback-Leibler Distance

## Slide 9: Mutual Info as K-L Distance

## Slide 10: Entropy

## Slide 11: Observation: MSE=225

## Slide 12: Philosophy
How to define structural information?
How to separate structural & nonstructural info?
HVS Extracts Structural Information
HVS Highly Adapted for Contextual Changes
Classical | “New”
Bottom-up | Top-down
Error Visibility | Structural Distortion

## Slide 13: Instant Classic

## Slide 14: Example
SSIM=1
SSIM=0.949
SSIM=0.989
SSIM=0.671
SSIM=0.688
MSSIM=0.723

## Slide 15: Structural Similarity

## Slide 16: Similarity: Luminance, Contrast, & Structure

## Slide 17: Three Postulates

## Slide 18: Luminance Comparison

## Slide 19: Analysis on Luminance Term

## Slide 20: Contrast Comparison

## Slide 21: Analysis on Contrast Term
Weber’s law, also called Weber-Fechner law, historically important psychological law quantifying the perception of change in a given stimulus. The law states that the change in a stimulus that will be just noticeable is a constant ratio of the original stimulus. It has been shown not to hold for extremes of stimulation.

## Slide 22: Change over Background

## Slide 23: Structural Comparison

## Slide 24: Cauchy–Schwarz Inequality

## Slide 25: SSIM Is Born!

## Slide 26: Example

## Slide 27: SSIM Extensions
Color Image Quality Assessment
Video Quality Assessment
Multi-scale SSIM
Complex Wavelet SSIM
Wang, et al., Signal Processing: Image Communication, ’04
Wang, et al., Invited Paper, IEEE Asilomar Conf. ’03
Wang & Simoncelli, ICASSP ’05
Toet & Lucassen, Displays, ’03

## Slide 28: Comments on Exam 1 in S’18
Chart: Exam 1 Histogram
| Below 40 | 40-50 | 50-60 | 60-70 | 70-80 | 80-90 | 90-100
 | 1 | 10 | 4 | 6 | 3 | 5 | 1

## Slide 29: Comments on Exam 1 in S’17
2 : 95-90
3 : 90-85
4 : 85-80
5 : 80-75
6 : 75-70
7 : 70-65
8 : 65-60
9 : 60-55
10: 55-50
11: 50-45
12: 45-40

## Slide 30: Grading Policy & Distribution’16
Grading Policy
The final grade in this course will be based on the student total score on all components of the course. The total score is broken down into the following components:
Class participation: 10%
Exam I: 20%
Exam II: 20%
Exam III: 20%
Homework: 30%
Subject to further calibration

## Slide 31: Outline
General Measures
MSE
KL Distance
SSIM
System Specific
Noise, SNR & CNR
Resolution (Spatial, Contrast, Temporal, Spectral)
Artifacts
Task Specific
Sensitivity & Specificity
  ROC & AUC
Human Observer
Hotelling Observer
Neural Network/Radiomics

## Slide 32: Signal to Noise Ratio (SNR)

## Slide 33: Spatial Resolution

## Slide 34: Modulation Transfer Function

## Slide 35: Contrast Resolution

## Slide 36: Metal Artifacts

## Slide 37: Outline
General Measures
MSE
KL Distance
SSIM
System Specific
Noise, SNR & CNR
Resolution (Spatial, Contrast, Temporal, Spectral)
Artifacts
Task Specific
Sensitivity & Specificity
  ROC & AUC
Human Observer
Hotelling Observer
Neural Network/Radiomics

## Slide 38: Need for Task-specific Measures

## Slide 39: Four Cases (Two Error Types)
Edge Not
True Positive | False Negative
False Positive | True Negative
Not Edge

## Slide 40: Sensitivity & Specificity
Sensitivity=TP/(TP+FN)
Specificity =TN/(TN+FP)
Likelihood of a positive case
Or % of edges we find
How sure we say YES
Likelihood of a negative case
Or % of non-edges we find
How sure we say NOPE

## Slide 41: PPV & NPV

## Slide 42: Example

## Slide 43: Receiver Operating Characteristic
1-Specificity
Sensitivity
Any detector on this side can do better by flipping its output
Report sensitivity & specificity
Give an ROC curve
Average over many data

## Slide 44: TPF vs FPF

## Slide 45: Ideal Case
Non-diseased
Diseased
Threshold

## Slide 46: More Realistic Case
Non-diseased
Diseased

## Slide 47: ROC: Less Aggressive
TPF, Sensitivity
FPF, 1-Specificity
Non-diseased
Diseased

## Slide 48: ROC: Moderate
TPF, Sensitivity
FPF, 1-Specificity
Non-diseased
Diseased

## Slide 49: ROC: More Aggressive
Non-diseased
Diseased
TPF, Sensitivity
FPF, 1-Specificity

## Slide 50: ROC Curve
Example Adapted from Robert F. Wagner, Ph.D., OST, CDRH, FDA
Non-diseased
Diseased
TPF, Sensitivity
FPF, 1-Specificity

## Slide 51: Diagnostic Performance
51
Reader Skill
Technology Power
Chance Line
TPF, Sensitivity
FPF, 1-Specificity
Same Thing But
Viewed Differently

## Slide 52: Area Under Curve
Area under ROC Curve (AUC)

## Slide 53: Example
TPF vs FPF for 108 US radiologists in study by Beam et al.

## Slide 54: Example
Chest film study by E. James Potchen, M.D., 1999

## Slide 55: Model Observers

## Slide 56: Imaging Model

## Slide 57: Binary Classification

## Slide 58: Ideal Observer

## Slide 59: Hotelling Observer

## Slide 60: Channelized Observer

## Slide 61: Four Channels

## Slide 62: Radiomics

## Slide 63: Nonlinear Observer

## Slide 64: Supervised Learning
https://www.youtube.com/watch?v=kNPGXgzxoHw

## Slide 65: Fuzzy XOR Problem

## Slide 66: Deep Radiomics
https://www.nature.com/articles/s41598-017-05848-2.pdf

## Slide 67
BB11 Homework
Compute sensitivity and specificity
Make an example so that sensitivity and specificity are 90% and 80% respectively
Due Date: Same (Week Later)
Use the MatLab code on http://www.cns.nyu.edu/~lcv/ssim/
to compute SSIM of the two photos (or other two photos):