## Slide 1
38655 BMED-2300-02
Lecture 17: SPECT & PET
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
March 28, 2017

## Slide 2: Daily Yield
The ratio of the two species is constant – the decay rate of the daughter is governed by the half-life of the parent.

## Slide 3: Dead Time

## Slide 4: SPECT & PET
Statistical Distributions
Data Modeling
Single Emission
Paired Emission
Reconstruction Methods
Attenuation Compensation
Deterministic Reconstruction
Statistical Reconstruction
SPECT & PET Scanners
  Architectures
  Scatter Correction
Fully3D
Conference & Community

## Slide 5: Gaussian & Poisson Noise

## Slide 6: Combination Formula

## Slide 7: Binomial Formula
P(X=k) = C(n, k)

## Slide 8: Poisson Distribution
Expected Photons
Measured Photons
Binomial formula
p=λ/n
In total, I factors in the 1st part

## Slide 9: SPECT & PET
Statistical Distributions
Data Modeling
Single Emission
Paired Emission
Reconstruction Methods
Attenuation Compensation
Deterministic Reconstruction
Statistical Reconstruction
SPECT & PET Scanners
  Architectures
  Scatter Correction
Fully3D
Conference & Community

## Slide 10: Data with & w/o Constant Weight
  E ~ 60-600keV (e.g., E 99mTc=140keV)
    Single Photon Emission:
    Paired Photon Emission:
s
s=a
s=d
s
s=a
s=d2
s=d1
g
g
The above formulas are for the single source point, and the real signal is a sum/integral long the line of response (attenuated or conventional line integrals; see later slides)

## Slide 11: Can Weight Be Source-position Independent for SPECT?
s
s=a
s
s=a
s=d2
g
g
s=d1
s=d2
s=d1

## Slide 12: No, SPECT Model Is More Complicated!
s
s=a
s=d2
s=d1
s=b
The cross terms are messy, and hence the SPECT data model contains source-position-dependent weighting factors, even if you know the attenuation background.

## Slide 13: PET Sinogram
Emission Coincidence Detection
Group Data into Projection
Along Line of Response (LOR)
Sort LOR Data into a Sinogram
Projection

## Slide 14: 2D vs 3D PET
Mechanical Collimators Separating Detector Ring & Defining Imaging Planes
Mechanical Collimators Unavailable Relying on 3D Electronic Collimation

## Slide 15: 3D PET
Advantage:
Absence of Mechanical Collimators Increases Sensitivity
Drawback:
Wide Opening Increases Scattered & Random Events

## Slide 16: SPECT & PET
Statistical Distributions
Data Modeling
Single Emission
Paired Emission
Reconstruction Methods
Attenuation Compensation
Deterministic Reconstruction
Statistical Reconstruction
SPECT & PET Scanners
  Architectures
  Scatter Correction
Fully3D
Conference & Community

## Slide 17: Deterministic SPECT Recon
Detected Number of Photons
  SPECT:
  Radon Transform:
  FBP Not Directly Applicable due to Attenuation!
  Assuming No Attenuation
  Assuming Constant Attenuation
  Transmission Scan

## Slide 18: In Case of Curiosity

## Slide 19: Deterministic PET Recon
Detected Number of Photons
  PET:
  Inverse Radon Transform
  Not Directly Applicable!
  Assuming Constant Attenuation
  Transmission Scan
  Time of Flight Estimation

## Slide 20: Attenuation Correction
PET-CT: Not Only Registered Anatomy & Physiology But Also Attenuation Correction!
Photon Energy in PET (511keV) Different from That in CT:
Spectrum Converted to the Effective Energy For Example: 140 kVp -> Effective Energy 70keV
Piecewise Linear Relationship between PET and CT
Air
Water
Bone
CT Attenuation (cm-1)
PET Attenuation (cm-1)

## Slide 21: Attenuation Effect

## Slide 22: Bayesian Approach
Denote Λ: Image to Be Estimated Q: Data Actually Measured
Bayes’ Rule:
Find the Maximum a-posteriori Probability (MAP)
If p(Λ) Constant (p(Q) Constant Anyway)
Then, the MAP Estimation Problem Becomes the Maximum Likelihood (ML) Estimation Problem

## Slide 23: Phantom Reconstruction
FBP
iterative reconstruction

## Slide 24: Patient Reconstruction
FBP
ML Iterative Recon
(34 iterations)

## Slide 25: PET-CT

## Slide 26: PET-MRI

## Slide 27: SPECT & PET
Statistical Distributions
Data Modeling
Single Emission
Paired Emission
Reconstruction Methods
Attenuation Compensation
Deterministic Reconstruction
Statistical Reconstruction
SPECT & PET Scanners
  Architectures
  Scatter Correction
Fully3D
Conference & Community

## Slide 28: SPECT Scanner

## Slide 29: SPECT-CT

## Slide 30: PET Ring

## Slide 31: Block & Bucket

## Slide 32: Desirable Properties

## Slide 33: Detector Materials

## Slide 34: Key Component: PET Detector
Scintillator Blocks of Many Crystal Units
Multiple PMTs (4 on Right) Connected to Each Block
Incident 511kev Photons Make Visible Light
Visible Light Converted to Electrical Signal, Processed, & Recorded

## Slide 35: Significant Progress in Detector

## Slide 36: Types of Coincidence Events
True Events
Single Annihilation
Two Photons Detected from Opposite Detectors
Scatter Events
Photons from the Same Event Scattered prior to Coincidence Detection
Random Events
Coincidence of Two Photons from Different Events

## Slide 37: Tri-windows for Scatter Correction
https://www.researchgate.net/figure/7209769_fig1_Fig-1-Window-settings-in-Triple-Energy-Window-scatter-correction-The-main-window-is

## Slide 38: Scatter Correction

## Slide 39: Random Correction
  Multiple Photons Can Be Detected by Different Modules
  (Time Accuracy ~ 10ns; Scintillation Time BGO ~300 ns)
  Random Data Can Be Removed with a Delayed Window
  (Number of Random Counts Independent of Delay)
g
g
Delay
Detection
d1
d2
Probability [(Single in d1 at t*)∩(Single in d2 at t*)] =
Probability [(Single in d1 at t*+Δt)∩(Single in d2 at t*)]

## Slide 41: Correction Demo
True Counts
Total Counts
Random Counts
Scatter Counts

## Slide 42: Quantitative PET
Attenuation Correction
Scatter & Random Correction
Dead Time Correction

## Slide 43: Synchrony Allows Timing
    SPECT – Mechanical Collimation
    Many Photons Blocked
    PET – Electronic Collimation No Absorption by High-Z Collimator
    PET Sensitivity > SPECT Sensitivity
g
g
g

## Slide 44: Whole Body PET (Cherry Lab)

## Slide 45: Whole Body SPECT/PET-CT?

## Slide 46: Multiple Pin Holes?
Robert A. Vogel, Dennis Kirch, Michael LeFree, and Peter Steele: A New Method of Multiplanar Emission Tomography Using a Seven Pinhole Collimator and an Anger Scintillation Camera, J Nucl Med. 1978;19:648-654.

## Slide 47: SPECT & PET
Statistical Distributions
Data Modeling
Single Emission
Paired Emission
Reconstruction Methods
Attenuation Compensation
Deterministic Reconstruction
Statistical Reconstruction
SPECT & PET Scanners
  Architectures
  Scatter Correction
Fully3D
Conference & Community

## Slide 49
http://www.fully3d.org

## Slide 51: Xi’an Bell Tower
Xi’an is the City of New York in the ancient world, with the Bell Tower in its center to synchronize life over dynasties…

## Slide 52: Logo

## Slide 53: Modalities
Cone-beam Geometry
Detector Ring
Photomultiplier Tubes
Collimator
Crystal
Bow-tie Phantom
CT
SPECT
PET

## Slide 54: Variants

## Slide 55: Animation

## Slide 56: Fully3D Community

## Slide 57
BB17 Homework
Due Date: Same (1 Working Week Later)