## Slide 1
38655 BMED-2300-02
Lecture 19: MRI Imaging
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
April 6, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: MRI Imaging
Revisit
How to Model T1 & T2
How to Measure T1 & T2
Slice Selection
Gradient Field Along One Axis
Slice Thickness & Re-phasing
Sampling in the k-Space
Phase Encoding
Frequency Encoding
k-Theorem
MRI Scanners

## Slide 4: T1 & T2 Relaxation
T1: Recovery
  Recovery of M along the z-Axis
  T1 Time Defined as 63% Recovery of M0
  Spin-Lattice interaction
T2: Dephasing
  Loss of M in the x-y Plane
  T2 Time as 37% Loss of M0
  Spin-spin Interaction

## Slide 5: Rate Proportional to Amount

## Slide 6: Mathematical Steps

## Slide 7: T2, T2+ & T2*
Constant Inhomogeneous Magnetic Field
Spin-spin interaction, Time-varying Inhomogeneous Magnetic Field

## Slide 8: Mathematical Details
Inherent Decay of Physical or Chemical Nature
Biological Decay on top of the physical Decay (Decay Rates Are Additive)
Let Us Compare with What We Learned on Nuclear Tomography, and Note the Common Reciprocal Relationship for Time Constants

## Slide 9: T1: Inversion Recovery
(Note: S(0)=- M0)

## Slide 10: Visualize it!

## Slide 11: T2: Spin-Echo

## Slide 12: Another Trick for Spin Echo

## Slide 13: Simple Idea Behind Spin Echo
Starting Point
Different Mileage
Direction Change
New Alignment

## Slide 14: TE & TR Parameters

## Slide 15: MRI Imaging
Revisit
How to Model T1 & T2
How to Measure T1 & T2
Slice Selection
Gradient Field Along One Axis
Slice Thickness & Re-phasing
Sampling in the k-Space
Phase Encoding
Frequency Encoding
k-Theorem
MRI Scanners

## Slide 16: Processional Frequency on B
P: Angular Moment
μ: Magnetic Moment

## Slide 17: If You Want to Exercise More

## Slide 18: Field Gradient

## Slide 19: Slice Thickness

## Slide 20: Slice Thickness

## Slide 21: Slice Selection

## Slide 22: Re-phasing Gradient

## Slide 23: MRI Imaging
Revisit
How to Model T1 & T2
How to Measure T1 & T2
Slice Selection
Gradient Field Along One Axis
Slice Thickness & Re-phasing
Sampling in the k-Space
Phase Encoding
Frequency Encoding
k-Theorem
MRI Scanners

## Slide 24: Phase Encoding

## Slide 26: Frequency Encoding

## Slide 28: Phase & Frequency Encoding

## Slide 29: Fourier Imaging

## Slide 30: Data in the k-Space

## Slide 31: Full Coverage in the k-Space

## Slide 32: Phase & Frequency Encoding (τ->t)
Gx pe_x/2,  Gy pe_y/2
Gx t/2,  Gy pe/2
Gx pe_x/2,  Gy t/2
Gx t/2,  Gy t/2

## Slide 33: Understood? Or Confused?
Let Me Explain Again,
With More Details

## Slide 34: Another Illustration of Spin Echo
http://www.intechopen.com/source/html/43522/media/image3.png
This is a highly simplified signal model.

## Slide 35: FID Signal

## Slide 36: TE & TR Parameters

## Slide 37: Signal Model for a 90˚ Pulse
  Rotating Transverse Component of M Induces a Current in Quadrature Coils
  In the Rotating Frame:
  Repeated after TR:
  Total Signal:
Determined by
Proton Density ρ, T1, & T2 (Biological)
B0, TR, TE, & t (Technical)
M
x’
y’
z
sy(t)
sx(t)

## Slide 38: ρ-, T1- & T2-weighting Illustrated
Short TR
Long TR
Short TE
Long TE
  Short TR (Short TE): T1-weighted
  Long TE (Long TR): T2-weighted
  Long TR & Short TE: ρ-weighted
Key Points to Understand:
Long TR: M Fully Recovered so No T1 Effect
Short TE: Mxy Has Little Time to De-phase so No T2 Effect

## Slide 39: Example: Brain Images
CSF
Ρ Weighted T2 Weighted T1 Weighted
Tissue Type | T1(s) | T2(s)
Grey Matter | 1.0 | 0.10
White Matter | 0.7 | 0.08
Cerebrospinal Fluid (CSF) | 2.0 | 0.25
Blood | 1.2 | 0.25
Water | 4.7 | 3.50
White
Grey

## Slide 40: Special Case of Gx Encoding
  Linear Gradient Gx along the x Axis
  Precession Frequency Depends on Coordinate x:
TE
t
Gx
Local Proton Density
Partial Recovery
Due to T1
Decay Due to
T2
Amplitude of Local Signal
Frequency of Local Signal

## Slide 41: For k-Space Data
kx
ky
s(t)

## Slide 42: Then, the General Case
G (or k) Varies, Whose Effect (Upon the Procession State) Is Accumulative w.r.t. Time.
Furthermore, the Linear Gradient Field Leads to the Inner Product Form
ky
kz
s(t)
kx
k-Space Theorem

## Slide 43: Three Approximations
Spin Motion Negligible Relative to Spatial Resolution
Readout Time
Negligible Relative to T2 Decay (& T1 Decay)
ky
kz
s(t)
kx
k-Space Theorem
T2* Decay
Negligible Relative to T2* Decay (& T1 Decay)

## Slide 44: MRI Example
Modulus of F(kx,ky) Inverse FT of F(kx,ky)
x
y
kx
k-space
ky
s(t) = F(kx,ky)
f(x,y)

## Slide 45: MRI Imaging
Revisit
How to Model T1 & T2
How to Measure T1 & T2
Slice Selection
Gradient Field Along One Axis
Slice Thickness & Re-phasing
Sampling in the k-Space
Phase Encoding
Frequency Encoding
k-Theorem
MRI Scanners

## Slide 46: MRI System Diagram

## Slide 47: 3D Rendering

## Slide 48: MRI Scanner
Sparkler 1.5T MRI Made by Philips & Neusoft Joint Venture in 2008

## Slide 49: PET-MRI Scanner

## Slide 50: Preclinical MRI Scanner
Bruker BioSpec Avance III 94/20 9.4T Preclinical MRI Scanner

## Slide 51
CT-MRI: Radiation Therapy

## Slide 52: Potential Design (Xun Jia et al.)
  Magnet separation ~70 cm
  Couch rotation ~±25°
  Ring design for mechanical stability and magnet shielding
  CBCT on the ring (not shown)

## Slide 53: A Few Links
Spin Echo:
https://www.youtube.com/watch?v=dFp2Z3wjrmo
https://www.youtube.com/watch?v=vMh11VtUA5o
Gradient Echo:
https://www.youtube.com/watch?v=Rvpa1gqG06g
https://www.youtube.com/watch?v=MnlG51a4sLE
Slice Selection:
https://www.youtube.com/watch?v=TS8HFHML0ac

## Slide 54
BB19 Homework
Due Date: Same (1 Working Week Later)