## Slide 1
38655 BMED-2300-02
Lecture 20: MRI Pulse Sequences
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
April 10, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: MRI Pulse Sequences
MRI Scanners
Magnet for B0
Gradient Coils for Gx, Gy & Gz
RF Coil for B1
Pulse Sequences
More on Spin Echo & Gradient Echo
MR Angiography
DWI & Spectroscopy
MRI Agents & Safety
Brain Initiatives
Novel Ideas

## Slide 4: Signal Model for a 90˚ Pulse
  Rotating Transverse Component of M Induces a Current in Quadrature Coils
  In the Rotating Frame:
  Repeated after TR:
  Total Signal:
Determined by
Proton Density ρ, T1, & T2 (Biological)
B0, TR, TE, & t (Technical)
M
x’
y’
z
sy(t)
sx(t)

## Slide 5: MRI System Diagram

## Slide 6: Signal Detection

## Slide 7: Superconducting Magnet

## Slide 8: Superconducting Magnet
http://www.mriquestions.com/superconductive-design.html
http://blog.sciencenet.cn/blog-3004473-954898.html (Teleportation 8-)

## Slide 9: Gradient Coils
Bz
z
By
y
Bx
x
x
y
z

## Slide 10: Simple Idea Behind Gradient Coils

## Slide 11: Gradient Coils
Sounds Are Generated during Imaging due to Mechanical Stress within Gradient Coils

## Slide 12: RF Coils

## Slide 13: Uniform B1 with Bird Cage

## Slide 14: Non-uniform B1 with Surface Coils

## Slide 15: MRI Pulse Sequences
MRI Scanners
Magnet for B0
Gradient Coils for Gx, Gy & Gz
RF Coil for B1
Pulse Sequences
More on Spin Echo & Gradient Echo
MR Angiography
DWI & Spectroscopy
MRI Agents & Safety
Brain Initiatives
Novel Ideas

## Slide 16: Phase & Frequency Encoding (τ->t)
Gx pe_x/2,  Gy pe_y/2
Gx t/2,  Gy pe/2
Gx pe_x/2,  Gy t/2
Gx t/2,  Gy t/2

## Slide 17: Spin-Echo Imaging Sequence
Re-phasing for
Gradient Echoes

## Slide 18: Multi-slice Imaging

## Slide 19: Gradient Echo Imaging

## Slide 20: 3D Gradient Echo Imaging

## Slide 21: Echo-Planar Imaging

## Slide 22: Spiral Imaging

## Slide 23: Time-of-Flight Imaging
Through-plane Mechanism

## Slide 24: Phase-Contrast Imaging
In-plane/Any Direction Mechanism

## Slide 25: Diffusion Weighted Imaging

## Slide 28: Spectral Imaging
Each voxel Emits Signals at Multiple Frequencies, Instead of
a Signal of a Single Frequency

## Slide 29: Spectroscopy Method 1: PRESS

## Slide 30: Spectroscopy Method 2: CSI

## Slide 31: Example Agent: Magnevist

## Slide 32: Example Imaging: Brain Tumor

## Slide 33: MRI Safety

## Slide 34: European Action

## Slide 35: MRI Pulse Sequences
MRI Scanners
Magnet for B0
Gradient Coils for Gx, Gy & Gz
RF Coil for B1
Pulse Sequences
More on Spin Echo & Gradient Echo
MR Angiography
DWI & Spectroscopy
MRI Agents & Safety
Brain Initiatives
Novel Ideas

## Slide 38
http://www.youtube.com/watch?v=8jc8URRxPIg

## Slide 39: MRI Pulse Sequences
MRI Scanners
Magnet for B0
Gradient Coils for Gx, Gy & Gz
RF Coil for B1
Pulse Sequences
More on Spin Echo & Gradient Echo
MR Angiography
DWI & Spectroscopy
MRI Agents & Safety
Brain Initiatives
Novel Ideas

## Slide 40
PET/SPECT-MRI
CT
MRI
PET/SPECT
PET/SPECT-CT
CT-
MRI-
PET/SPECT
CT-MRI

## Slide 41: Omni-tomography All-in-One, All-at-Once, All-of-Couplings

## Slide 48: Motivation for SET
Polarized Nuclear Imaging (PNI)
MR Framework
Y. Zheng et al. Nature 537.7622: 652-655, 2016
(a) Polar plot of emission probability, (b) 100% polarized nuclei along a main magnetic field, (c) Nuclei oriented in transverse plane rotate about z-axis
Notes: -PNI. Reconstruct concentration of Xe131. Imaging setup
-Encode spatial information into atomic spin orientation.
-Polarization to create directionally dependent gamma emission
-Donut, spin freq changes with field strength
-RF pulse flips donut
-Zhong. PNI provides much higher sensitivity than MRI
-Drawback: no attenuation

## Slide 49: Existing Polarizable Tracers
Characteristics of some radioisotopes that are the best known candidates for SET at this time. However, these would not be practical for clinical imaging. |  |  |  | 
Isotope | Half-life | Spin number | γ-ray Emission (keV) | γ-ray Branching Ratio
131mXe | 12 days | 11/2 | 164 | 2%
127mXe | 69 sec | 9/2 | 124.8-172.5 | 38%
79mKr | 50 sec | 7/2 | 130 | 27%

## Slide 50: Optical Pumping

## Slide 51: Spin Manipulation

## Slide 52: System Concept

## Slide 53: SET Data Model
At location r
m1 and m2: paired data
Φ: γ-ray flux
µ: attenuation coefficient
Linear integral equation permits inverse solution of
Attenuation coefficients
Flux escaping each side of activated location proportional to concentration

## Slide 54: Whole Body Imaging

## Slide 55
BB20 Homework
Due Date: Same (1 Working Week Later)
Draw Diagrams for All Pulse Sequences Covered in This Lecture, and Explain the Working Principle for Each of Them.