## Slide 1
38655 BMED-2300-02
Lecture 21: Ultrasound Principle
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
April 13, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: Ultrasound Imaging Principle
Ultrasound Wave
Wave Equation
Acoustic Impedance
Sound-tissue Interaction
US Transducer
Single Unit & Array
Image Resolution
Micro-bubbles

## Slide 4: Ultrasound Imaging
Measure interactions between biological soft tissues and ultrasound waves
No Ionizing Radiation
High Imaging Speed
Low System Cost
Limited Penetration Depth
Strong Artifacts
Pediatric Imaging, Cardiac Studies, Image-guided Procedures, Neurological Stimulation…

## Slide 5: US Range

## Slide 6
http://www.explainthatstuff.com/sound.html

## Slide 7: Ultrasound (US) Wave

## Slide 8: How to Form Wave?
Conservation of Mass
Relationship between Pressure & Volume
Newton’s 2nd Law

## Slide 9: How to Form US Wave?
w (displacement) +
V (volume) –
p (pressure) +
a (acceleration) +
u (velocity) +
w (displacement) +

## Slide 10: How to Form US Wave?
w (displacement) +
V (volume) –
p (pressure) +
a (acceleration) +
u (velocity) +
w (displacement) +
w = u*t
w = ½*a*t2

## Slide 11: How to Form Wave?
w (displacement) +
V (volume) –
p (pressure) +
a (acceleration) +
u (velocity) +
w (displacement) +

## Slide 12: Wave Equation

## Slide 13: P & S Waves

## Slide 14: P & S Waves

## Slide 15: Speed of Sound
In the Same Medium:
Higher Frequency,
Shorter Wavelength

## Slide 16: Velocity, Pressure, & Intensity

## Slide 17
Characteristics of Sound
  Pressure intensity is expressed in dB scale in US
  Pressure (P) [Pascal(Pa)] (1Pa = 1 Newton/m2 ; [N] =[kg.m/s-2])
  Atmosphere: P=0.1MPa
  Diagnostic US: P=1MPa
  Relative intensity and power are described in decibels (dB)
    In diagnostic US, the incident pulse can be up to 1 million times more than the echo pulse
    The log function “compresses” the large scale ratios and “expands” the small ratios in to more manageable range
    A change in 10dB  one order magnitude (10x) change in intensity
    A change of 20dB  two order magnitude (100x) change in intensity
Ultrasound Imaging

## Slide 18
Characteristics of Sound
  Review Question: Calculate the remaining intensity of a 100mW US pulse that loses 30dB while traveling through tissue
  Review Question: Find the “half-value” thickness for ultrasound. The half-value thickness indicate the intensity is decreased by 50%
Ultrasound Imaging

## Slide 19: Acoustic Impedance

## Slide 20: Tissue Acoustic Properties

## Slide 21: US-Tissue Interaction
    Reflection – At tissue boundary
    Refraction – Change in direction
    Scattering – Energy diffusion
    Absorption – Energy into heat
    Attenuation – Intensity decay due to absorption & scattering

## Slide 22: Again, Exponential Decay
  High-frequency  Larger µ / Less Penetration

## Slide 23
Medical ultrasound:
  For frequencies used in the medical US:
  Example: Fat at 5MHz
  Attenuation coefficient = 5MHz x0.63 dB/cm/MHz
  = 3.15 dB/cm
  After 4cm, attenuation = 4x3.15= 12.6 dB
  Relative amplitude is 10(-12.6/20)=0.2344
Ultrasound Imaging
Material | [dB/cm/MHz]
Fat | 0.63
Liver | 0.94
Cardiac muscle | 1.8
Bone | 20.0
Material | 
Fat | 0.63
Liver | 0.94
Cardiac muscle | 1.8
Bone | 20.0

## Slide 24
Reflection coefficients – implications
  No ultrasound images of brain in vivo; skull reflects ultrasound.
  Images of the heart have to be taken “round” the ribs, which are also opaque.
  Finding the right “window” into the body is important.
  The ultrasound transducer must be “coupled” to the body using a special gel.
  The material from which transducers are made has a very different acoustic impedance Ztransducer to that of the body Ztissue and more importantly that of air Zair.
  Little of the signal gets through at a transducer-tissue boundary (pr/pi ≈-.86) and virtually none at a transducer-air boundary pt/pi ≈-0.9997).
Ultrasound Imaging

## Slide 25
Thermal Effects:
  Increased collagen tissue extensibility
  Increased blood flow
  Increased nerve conduction Velocity
  Increased pain threshold
  Increased enzymatic activity
  Decreased muscle spasm
Non-thermal Effects
  Increased cell membrane permeability
  Increased vascular permeability
  Increased blood flow
  Reduction of edema
  Cavitation
  Acoustical streaming
Ultrasound Imaging

## Slide 26: Ultrasound Imaging Principle
Ultrasound Wave
Wave Equation
Acoustic Impedance
Sound-tissue Interaction
US Scanner
Single Unit & Array
Image Resolution
Micro-bubbles

## Slide 27: How? – Piezoelectric Effect

## Slide 28: Why? – Static Electric Balance

## Slide 29: Single-Crystal Transducer

## Slide 30: US Probes

## Slide 31: Transducer Damping

## Slide 32: Matching Layer

## Slide 33: Ultrasound Gel

## Slide 34: US Transducer Array

## Slide 35: Resolution vs Penetration

## Slide 36: Beam Geometry

## Slide 37: Lateral Resolution

## Slide 38: US Focusing

## Slide 39: Axial Resolution

## Slide 40: Image Contrast
Acoustic waves interact various tissues differently
    Hyperechoic – Higher scatter amplitude than average
    Hypoechoic – Lower scatter amplitude than average

## Slide 41: Microbubble as Contrast Agent

## Slide 42: Acoustically Enabled Drug Delivery

## Slide 43: Homework for US I
Due Date: Same (1 Working Week Later)