## Slide 1
Image Quality I: Resolution, Noise, & SSIM
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
September 21, 2021
Notes: Hello, since Professor Wang has a conference today out of town, I will give this hands-on introduction based on this PPT we prepared together. As he mentioned last time, we will have deep learning final projects by the end of the semester. Tentatively, we will have five lectures on deep learning hands-on, including this one.

## Slide 2: Relevant Textbook Reading

## Slide 3: Textbook+
Please follow the textbooks to get key points in reference to my PPT files. Please attend each class for a systematic understanding.
Homework questions are often assigned on the last slide(s). The exams will be based on the textbooks, the homework and my PPTs, with an emphasis on basic understanding and key details.
Hopefully, you will be motivated and inspired after this course, which is much more important than your scores. After all, the distribution of your grades will be typical (normalized).

## Slide 4: Lecture+
This course MIMI is beyond BIBI. You are strongly encouraged to read relevant parts in the textbooks before & after the class (preview and review). I will not teach all text but you are supposed to read proactively and get the whole picture.
I will explain key parts of the textbook in the class, using some slides from Paul and others but mostly our own slides.
I will highlight selected important/fundamental ideas, and you should read some recommended papers for all essential information.
I will touch upon some latest developments and research topics. Normally, these “fancy” things will not be tested in the exam.

## Slide 5: Outline
Digital Images: Digitization, Filtration/Conv
Resolution: Measures, Deblurring
Noise: Poisson Noise, Denoising
Similarity: SSIM, Axiomatic Approach

## Slide 6: Digitization
  Lung radiographs:
  2400 x 2400
  K. U. Leuven
  UZ Leuven Medical Imaging Research Center

## Slide 7: Quantization
4 bits
8 bits
6 bits
  # possible gray levels (integers) for radiographic images: 4096 (12 bpp)
  Radiography: 2000x2000 pixels x 2 bytes per pixel = 8 MB/image
  CT: 512 x 512 pixels x 2 bytes per pixel x 1000 slices (images) (range: 200 – 3000) per scan = 500 MB per scan
  K. U. Leuven, UZ Leuven Medical Imaging Research Center

## Slide 8: Image Addition & Subtraction
8
  K. U. Leuven, UZ Leuven Medical Imaging Research Center

## Slide 9: Image Multiplication & Division (Fourier Space)
https://everydaymatters.rpi.edu/artificial-intelligence-makes-medical-images-clearer/#.XX5r2ShKiUk
9

## Slide 10: Outline
Digital Images: Digitization, Filtration/Conv
Resolution: Measures, Deblurring
Noise: Poisson Noise, Denoising
Similarity: SSIM, Axiomatic Approach

## Slide 11: Resolving Details with Clarity

## Slide 12: FWHM: Full Width at Half Maximum
FWHM
Ideal Actual
Point Spread Function

## Slide 13: MTF: Modulation Transfer Function
lp/mm
100%
5%
Amplitude of the Response of the Input Pattern at Each Frequency
Sinusoidal Frequency Low
Sinusoidal Frequency Moderate
Sinusoidal Frequency High

## Slide 14: Axiomatic Approach

## Slide 15: Linear Shift-invariant System
Wang G, Li Y: IEEE Signal Processing Letters 6:257-258, 1999
Input
i(z)
Output
o(z)
System
p(z)

## Slide 16: Axioms
5. (Combination)
4. (Scaling)
3. (Translation)
2. (Regularity)
1. (Continuity)
Five axioms for a good resolution measure R[p(z)]
Wang G, Li Y: IEEE Signal Processing Letters 6:257-258, 1999

## Slide 17: Deblurring: Nonlinear Correspondence

## Slide 18: Adversarial Learning for CT Super-resolution
Truth
Low-resolution
Supervised
Semi-supervised
  https://ieeexplore.ieee.org/document/8736838

## Slide 19: Ensemble Learning for MRI Super-resolution
HR image
GAN
GAN
GAN
GAN
GAN
CNN
Ensemble learning
LR image
Final SR image
https://ieeexplore.ieee.org/document/8950304

## Slide 20: Outline
Digital Images: Digitization, Filtration/Conv
Resolution: Measures, Deblurring
Noise: Poisson Noise, Denoising
Similarity: SSIM, Axiomatic Approach

## Slide 21: Combination Formula
ab≠ba
ab=ba

## Slide 22: Binomial Formula

## Slide 23: Poisson Distribution
Expected Photons
Measured Photons
Binomial formula
p=λ/n
In total, i factors in the 1st part
Key Points
p Small
n Large

## Slide 24: Poisson Distribution

## Slide 25: Poisson Becomes Gaussian for Large Mean

## Slide 26: Low-dose CT Image Denoising
IEEE Trans. Medical Imaging 37:1522-1534, 2018
https://ieeexplore.ieee.org/stamp/stamp.jsp?arnumber=835346
Low-quality CT Scan
(1/4 Radiation Dose)
High-quality CT Scan
(Standard Radiation Dose)
Machine Learning Turns Low-quality CT Image into High-quality Counterpart
CT Denoising Neural Network by RPI,
Sichuan University, & Harvard University

## Slide 27: Noise2Noise
http://www.sanko-shoko.net/note.php?id=pn13 (Google Translation: Japanese to English; info@sanko-shoko.net)

## Slide 28: Noise2Void
https://arxiv.org/pdf/1811.10980.pdf

## Slide 29: Outline
Digital Images: Digitization, Filtration/Conv
Resolution: Measures, Deblurring
Noise: Poisson Noise, Denoising
Similarity: SSIM, Axiomatic Approach

## Slide 30: Instant Classic (Explained in BIBI)

## Slide 31: Observation: Mean Squared Error=225

## Slide 32: Similarity: Luminance, Contrast, & Structure

## Slide 33: Three Postulates
Note: A proposition (axiom) regarded as self-evidently true without needing any proof.

## Slide 34: Luminance Comparison

## Slide 35: Analysis on Luminance Term

## Slide 36: Contrast Comparison

## Slide 37: Structural Comparison
https://math.stackexchange.com/questions/3214434/proof-of-cauchy-schwarz-inequality-in-probability-form/3214447

## Slide 38: SSIM

## Slide 39: SSIM in Working
SSIM=1
SSIM=0.949
SSIM=0.989
SSIM=0.671
SSIM=0.688
MSSIM=0.723

## Slide 40: Axiomatic Approach
Major Benefits:
Scientific maturity
Essential structure
Fundamental discoveries
Essential Elements:
Consistency
Completeness
Independence

## Slide 41: Homework
Compute SSIM values analytical and/or numerically between the following functions over [0, 1]:
sin(pi*x), x(1-x), and 1-2|x-0.5|
(Hint: http://www.cns.nyu.edu/~lcv/ssim/)
Optional: Read the axiomatic resolution paper by Wang and Li, if you like