## Slide 1
CT Physics
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
September 24, 2021
Notes: Hello, since Professor Wang has a conference today out of town, I will give this hands-on introduction based on this PPT we prepared together. As he mentioned last time, we will have deep learning final projects by the end of the semester. Tentatively, we will have five lectures on deep learning hands-on, including this one.

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
Breast Imaging Examples
Radiation Dose
Dosimetry
Low-dose CT

## Slide 4: X-ray Waves
0.01-10nm
https://nau.edu/cefns/labs/electron-microprobe/glg-510-class-notes/signals/%23Absorption_of_electromagnetic_radiation

## Slide 5: X-ray Interference

## Slide 6: X-ray Photons

## Slide 7: Double Slit Experiments

## Slide 8: Wave Propagation: In-line Phase-contrast Imaging
https://www.osapublishing.org/oe/fulltext.cfm?uri=oe-19-11-10359&id=213838

## Slide 9: X-ray Grating Interferometric Results
Attenuation
Phase-contrast
Dark-field
Trachea Invisible in Attenuation
Hair Invisible in Attenuation
Cartilage
Texture of Muscle

## Slide 10: Quantum Principle of Relativity
The 1st postulate (Relativity)
The physical laws are the same in all inertial frames.
The 2nd postulate (Speed of Light)

## Slide 11: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
Breast Imaging Examples
Radiation Dose
Dosimetry
Low-dose CT

## Slide 12: X-ray Interactions with Matter
Types of Interaction between an X-ray photon and the atom of irradiated matter for x-ray beam energy 15-150keV (adapted from Seibert J.A and Boone J.M., 2005)

## Slide 13: Linear & Mass Attenuation
http://www.sprawls.org/ppmi2/INTERACT/
The Same Amount of Material

## Slide 14: X-ray Attenuation Curves
https://openi.nlm.nih.gov/detailedresult.php?img=PMC3259372_13244_2010_57_Fig1_HTML&req=4
It Depends on Both Material and Energy!

## Slide 15: Two Basis Functions
Material
Energy

## Slide 16: Klein–Nishina Function
Klein–Nishina distributions of scattering over a range of x-ray energies
https://en.wikipedia.org/wiki/Klein%E2%80%93Nishina_formula

## Slide 17: Beer’s Law (Monochromatic Light)
https://www.slideshare.net/MorshedulHaque/beer-lamberts-law
http://www.sprawls.org/ppmi2/RADPEN/

## Slide 18: Mono- & Poly-Data Models
Energy
Spectrum

## Slide 19: Beer’s Law to Linear Equation

## Slide 20: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
Breast Imaging Examples
Radiation Dose
Dosimetry
Low-dose CT

## Slide 21: X-ray Tube: Simple View
http://www.dmlp.org/legal-guide/fair-use
kVp

## Slide 22: X-ray Tube: Pretty View
kVp

## Slide 23: X-ray Spectrum
kVp
AU - Roque, Rita
PY - 2018/06/13
T1 - X-ray imaging using 100 μm thick Gas Electron Multipliers operating in Kr-CO2 mixtures
DO - 10.13140/RG.2.2.16794.49600

## Slide 24: E-beam Scanner

## Slide 25: Energy-integrating Detector

## Slide 26: Anti-scatter Grid
Without Grid
With Grid

## Slide 27: Dual-energy CT Technologies
Dual-Source
Dual-kVp
Dual-Layer

## Slide 28: Dual-energy Measurements
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC5761343/

## Slide 29: Photon-counting Detector

## Slide 30: Toward Spectral CT
X-ray Source
X-ray Source
Single Spectrum CT
Dual Energy
CT
MARS
Spectral CT
X-ray Source
X-ray Source
B/W
B/W
B/W
Medipix
Hounsfield Units
Patient
Grey-scale
detector
Two Grey-scale
Detectors
Color
Detectors
Permission by Anthony Butler

## Slide 31: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
Breast Imaging Examples
Radiation Dose
Dosimetry
Low-dose CT

## Slide 32: Ionizing Radiation Effects
Ionizing: Free Electrons in Biological Tissue
  Stochastic Risks
    Cell Injury/Death
    Cell Modification toward Malignancy or Genetic Damage
  Deterministic Damages
    Complete Tissue Damage above a Threshold
    Severe Tissue Reaction
  Potential Benefits??
    Evolutionary?
    Dropout Effect?

## Slide 33: Equivalent Dose (Radiation Normalized)
Absorbed Dose D [Gray (Gy)]
  1 Gy = 1 J/kg
  Cataract Risk per 5 Gy: 100%
Equivalent Dose HT in Tissue t [Sievert (Sv)]
Ht = Σr crDt,r
  Dt,r: Absorbed Radiation of Type r in Tissue of Type t
  cr : Weighting Radiation (1 for X-ray, 20 for α Particles)
  1 Sv = 1 Gy * 1 (for X-ray, Others Made Equivalent to X-ray)
  Lung Cancer Risk per Sv: 1.14%

## Slide 34: Effective Dose (Radiation & Tissue Normalized)
Effective Dose E: Overall Detriment [in Sievert (Sv)]
  E = ΣtdtHt
  dt : Weighting Tissue
  Lung, Breast: 0.12
  Gonads: 0.08
  Bladder, Liver: 0.04
  Brain, Skin: 0.01

## Slide 35: Effective Doses for Typical Imaging Exams
https://www.grepmed.com/images/1829/patientinfo-procedures-comparison-radiology-chestxray-radiation-imaging

## Slide 36: Low-dose CT

## Slide 37: Out of Box Solution

## Slide 38: Homework
Please discuss if we only take one x-ray radiograph of an object (say a breast), should we compress the object or not for better screening or diagnosis?