## Slide 1
CT Image Reconstruction
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
September 28, 2021
Notes: Hello, since Professor Wang has a conference today out of town, I will give this hands-on introduction based on this PPT we prepared together. As he mentioned last time, we will have deep learning final projects by the end of the semester. Tentatively, we will have five lectures on deep learning hands-on, including this one.

## Slide 2: Outline
X-ray Nature
Wave
Particle
X-ray Attenuation
Mechanisms
  Beer’s Law
X-ray Tubes/Sources & Detectors
Sources & Detectors
Breast Imaging Examples
Radiation Dose
Dosimetry
Low-dose CT

## Slide 3: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 4: Derivation of Beer’s Law

## Slide 5: System of Linear Equations

## Slide 6: Computed Tomography
p(t)
f(x,y)
Computed tomography (CT): Image reconstruction from projections
p(t)
f(x,y)
t

y
x
X-rays
Radon Transform
Computerized Axial tomography (CAT)

## Slide 7: Outline
Filtered Backprojection (FBP)
Fan-beam Case
Heuristic Extension
Mammography, Breast Tomosynthesis & CT

## Slide 9: Fourier Slice Theorem

## Slide 11: Parallel-beam FBP

## Slide 12: Equi-angular/spatial Fan-beam Geometry
Homework on Half-scan

## Slide 13: Parallel- to Fan-beam FBP
Parallel-beam
Filtered Backprojection
Fan-beam
Filtered Backprojection
Key Idea: Convert Parallel-beam Data to Fan-beam Data

## Slide 14: Equi-spatial Fan-beam Formula

## Slide 15: Fan-beam FBP = Parallel-beam FBP
Key Idea: Convert Parallel-beam Data to Fan-beam Data

## Slide 16: Fan- to Parallel-beam FBP
Parallel-beam
Filtered Backprojection
Fan-beam
Filtered Backprojection
Key Idea: Convert Fan-beam Data to Parallel-beam Data or We Do It Heuristically!

## Slide 17: Heuristics behind the Fan-beam Formula
If you want to see directly the correctness of the fan-beam formula, you can read the rest of the slides.
The key idea is that if we just consider a point object near the system origin, then all the factors in the fan-beam formula becomes immediately clear!
And that understanding is valid no matter the source to the original distance is large or small. Hence, we got a generalized fan-beam formula!

## Slide 18: Equi-spatial Fan-beam Formula

## Slide 19: Delta Function on a Scaled Axis
Projecting with a Divergent Beam: The Impulse Becomes Stronger (Larger Area)

## Slide 20: Delta Function on a Tilted Axis
Projecting onto a Tilted Plane: The Impulse Becomes Stronger (Larger Area)

## Slide 21: Obliqueness of the Detector Array

## Slide 22: Divergence of the X-ray Beam
This Scaling Factor Applies the Same Way from the Opposite View Angles (Generally Speaking, Either Magnified or De-magnified Depending on Which Side)

## Slide 23: Difference Between θ & β Angles
For Simplicity, Let Us Only Consider the Impulse (Red) Near the System Origin

## Slide 24: From Full-scan to Half-scan
Full-scan Fan-beam Dataset (360˚) Consists of Two Parallel-beam Datasets (180˚)

## Slide 25: Equi-spatial Fan-beam Formula

## Slide 26: Extended Fan-beam Formula

## Slide 27: More General Scanning Trajectory

## Slide 28: Simulation Results
Effectiveness of the derivative-free noncircular fan-beam reconstruction (2562 pixels, 256 projections, 256 detectors)
Circle-like and triangle-like random scanning loci
True slice from the 3D Shepp-Logan phantom
Computed using the circle-like locus
Computed using the triangle-like locus

## Slide 29: Outline
Filtered Backprojection (FBP)
Fan-beam Case
Heuristic Extension
Mammography, Breast Tomosynthesis & CT

## Slide 30: Radiography/Mammography

## Slide 31: Breast Tomosynthesis
20-49kVp

## Slide 32: Breast CT
49kVp, 200mA, 8ms Pulse Width

## Slide 33: Mathematical Insight
Radiography
(Single View)
Tomography
(Full Scan)

## Slide 34: Mathematical Insight
Radiography
(Single View)
Tomosynthesis
(Limited Angle)
Tomography
(Full Scan)

## Slide 35: Physical Insight
Radiography
(Lowest kVp)
Tomosynthesis
(Modest kVp)
Tomography
(Highest kVp)
20-49kVp
49kVp

## Slide 36: Ballpark Analysis
Key Points
kVp should be low to maximize Δµ
kVp should be high to minimize noise

## Slide 37: Koning Breast CT Images

## Slide 38: Homework
What is the angular range [0, x] for β so that fan-beam projection data meet the sufficient condition for image reconstruction? In other words, x=?

## Slide 39: Homework
There is a mathematical error in my paper, please find it, and email me (I am curious to see who is the first)
https://ieeexplore.ieee.org/document/242365/