## Slide 1
Spin-Echo
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
October 15, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Outline
Magnetization Vector
Bloch Equation, T1 & T2
Spin Echo

## Slide 4: Math Operations: Dot & Cross Products

## Slide 5: Ge’s Explanation
Faraday's Law
Lenz’s Law
Symmetry (dA opposite of B)
Elimination
Vectorized
Actually, the above steps only compute the tangential component. Any E component along the motion direction? How about charges move along a circle?

## Slide 6: Lorentz Force on Conducting Wire
Orthogonal Component

## Slide 7: Torque on a Rectangular Loop
α=90˚
α=0˚
Torque τ = I*LMsinα*B (A=LM: loop area; Msinα=2(0.5Msinα))
Magnetic moment μ = I*A (Product of current and area is defined as magnetic moment with direction determined by the right-hand rule, true for any shape). τ = μ*B*sinα
τ = μ X B (Vectorized, cross product, to align up with B)
M
L

## Slide 8: Key Points on Magnetic Moment
Magnetic moment is associated with a current loop and defined as a vector with its magnitude proportional to the current around the loop and the area of the loop and its direction determined by the right-hand rule
Torque τ = μ X B acts upon the magnetic moment, with its magnitude proportional to the magnetic moment magnitude, the field strength, and the sine of the angle between μ and B
Torque on the magnetic moment tends to align it with the direction of the magnetic field

## Slide 9: Mechanical & Magnetic Coupling

## Slide 10: Magnetic Moment µ & Angular Momentum P
µ=γP
Proton has both magnetic moment µ and angular momentum P
µ in the magnetic field is subject to torque
Torque acts upon P
Both µ and P are in precession
Precession returning to the stable status,
emitting radio frequency (RF) signals

## Slide 11: M: Magnetization

## Slide 12: Precessional Frequency
Note: Due to Lorentz Force
dφ
dP
(By (4.13))
(By definition)
(By coupling, µ=γP)

## Slide 13: Flipping M in Rotating Frame
If M is flipped, we have a signal!
A rotating magnetic field is needed to flip M!

## Slide 15: Good Idea: Rotating Magnetic Field

## Slide 16: Better Idea: Rotating M Field
Two oppositely rotating vectors of equal amplitude (one of this rotating vectors is in resonance with the precession) These two vectors are added to produce a vector in a fixed direction with an oscillating amplitude (which is what we see nominally).

## Slide 17: Moving/Rotating Frame

## Slide 18: Rotating Magnet = Stationary Field
B1 is always perpendicular to M so that M is turned into the plane consistently and rapidly (sin=1)
M
B1
τ = μ X B

## Slide 19: Outline
Magnetization Vector
Bloch Equation, T1 & T2
Spin Echo

## Slide 20: Bloch Eqs. in the Rotating Frame

## Slide 21: Flip Angle
α = ω1.t = γ B1.t
α = 90° (90°pulse)
α = 180° (180°pulse)

## Slide 22: T1 & T2 Relaxation

## Slide 23: Longitudinal Relaxation (MZ)
General Case: Mz(t) = M0[1-exp(-t/T1)]+M0cos exp(-t/T1)

## Slide 24: Transverse Relaxation (Mxy)
General Case: Mxy(t) = M0sin exp(-t/T2)

## Slide 25: T1 & T2 Relaxation
T1-Relaxation: Recovery
  Recovery of longitudinal component of M
  T1 time refers to 63% recovery
  Spin-Lattice interactions
T2-Relaxation: Dephasing
  Loss of transverse magnetization Mxy
  T2 time’ refers to 37% loss
  Spin-spin interactions, and more

## Slide 26: T2+ & 2*
Constant Inhomogeneous Magnetic Field
Spin-spin interaction, Time-varying Inhomogeneous Magnetic Field

## Slide 27: Outline
Magnetization Vector
Bloch Equation, T1 & T2
Spin Echo

## Slide 28: Spin-Echo Idea

## Slide 29: Controlled Running
Starting Point
Different Mileage
Direction Change
New Alignment

## Slide 30: Spin-Echo Signal

## Slide 31: Spin-Echo Variant

## Slide 32: Homework
The precessional direction of the magnetic moment on the left is different from what you see in your textbook (right). Which one is correct? Why?

## Slide 33: Homework
To explain these soon
As your homework, please explain this slide in your words