## Slide 1
K-Space
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
October 19, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Outline
Magnetization Vector
Bloch Equation, T1 & T2
Spin Echo

## Slide 4: Spin-Echo Idea

## Slide 5: Controlled Running
Starting Point
Different Mileage
Direction Change
New Alignment

## Slide 6: Spin-Echo Signal

## Slide 7: Spin-Echo Variant

## Slide 8: TE & TR Parameters
To explain these soon
As your homework, please explain this slide in your words

## Slide 9: Fourier Analysis: Visualization
http://mri-q.com/what-are-2d---3d-fts.html

## Slide 10: Fourier Analysis: Formulation

## Slide 11: MR Signal Model

## Slide 12: Signal Model for a Whole Object
  Rotating Transverse Component of M Induces a Current in Quadrature Coils
  In the Rotating Frame:
  Repeated after TR:
  Total Signal:
Determined by Proton Density ρ, T1, & T2 (Biological)
as well as B0, TR, TE, & t (Technical)
M
x’
y’
z
sy(t)
sx(t)

## Slide 13: ρ-, T1- & T2-weighting Illustrated
Short TR
Long TR
Short TE
Long TE
  Short TR (Short TE): T1-weighted
  Long TE (Long TR): T2-weighted
  Long TR & Short TE: ρ-weighted
Key Points to Understand:
Long TR: M Fully Recovered so No T1 Effect
Short TE: Mxy Has Little Time to De-phase so No T2 Effect

## Slide 14: Images Weighted Differently
ρ Weighted T2 Weighted T1 Weighted
Tissue Type | T1(s) | T2(s)
Grey Matter | 1.0 | 0.10
White Matter | 0.7 | 0.08
Cerebrospinal Fluid (CSF) | 2.0 | 0.25
Blood | 1.2 | 0.25
Water | 4.7 | 3.50

## Slide 15: Slice Selection
RF pulse at ω(z) = γ(B0+Gzz) has BW = Δω around γ(B0 + Gzz0)
SSP = rectangular means RF pulse = sinc, practically impossible
Very thin slices cannot be selected
Gz is limited (50-80mT/m)
Small BW requires long pulse
Thin slice -> few spins -> less SNR
Large B0 increases SNR
B0 is also limited (7T)
Δzmin: 2mm (1.5T); 1mm (3T)

## Slide 16: Gradient Echo
Gradient with Opposite Polarity
Gradient Echo (GE)

## Slide 17: Frequency Encoding

## Slide 18: Phase Encoding

## Slide 19
Position encoding: the k-theorem
  (after the slice selection gradient Gz and the RF pulse)
  Example : Gx = constant linear gradient in x-direction
  General case : G(t) = (Gx(t), Gy(t), Gz(t))
Example: Gx at t = TE -> w(x) = g (B0 + Gx.x) for t TE in rotating frame
  integration over the xy-plane :
  r(x,y) = net magnetization density in (x,y) ~ spin or proton density in (x,y)
TE
t
Gx
w(x)

## Slide 20
Defining and è for t TE w(x) = g Gx . x
2pkx = g Gx . (t – TE)
TE
t
Gx
kx
ky
s(t)

## Slide 21
General case: G(t)
è
define
è
Fourier transform:
if and time-independent
then k-theorem
no motion
(breathing, blood flow, ...)
short measurement interval
(read out period) -> t = t*

## Slide 22: Signal Model with Gradients
Spin-Echo Signal Model for a Whole Object with a 90˚ Pulse in the Rotating Frame
Signal Model with Gradient Fields
Signal Model for a Whole Object in the lab frame
Trajectory in the k-space

## Slide 23: Phase/Frequency Encoding (τ – prep / t - take)
Gx pe_x/2,  Gy pe_y/2
Gx t/2,  Gy pe/2
Gx pe_x/2,  Gy t/2
Gx t/2,  Gy t/2
Signal model used in the undergraduate lecture:

## Slide 24: Initial Phase
Over a time interval [0, t], the “phase factor” is given by the above equation (note that the phase increment rate is an inner product of the gradient vector G and the positional vector r).
If you don’t measure over [t, t+Δt] you accumulate the phase factor.
If you measure over [t, t+Δt] you obtain a single k sample at the location determined by the current phase factor.

## Slide 25: Trajectory in the k-space

## Slide 26: Summary: K-Theorem
Little Motion r(t)=r(t*)
Quick Readout t = t*

## Slide 27: Summary Copy (For Correct Typesetting)

## Slide 28: MRI Data & Image
Modulus of s(t) IFT of F(kx, ky)
x
y
kx
k-space
ky
s(t) = F(kx,ky)
f(x,y)

## Slide 29: Homework