## Slide 1
More MRI Stuff
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
October 22, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Signal Model for a Whole Object
  Rotating Transverse Component of M Induces a Current in Quadrature Coils
  In the Rotating Frame:
  Repeated after TR:
  Total Signal:
Determined by Proton Density ρ, T1, & T2 (Biological)
as well as B0, TR, TE, & t (Technical)
M
x’
y’
z
sy(t)
sx(t)

## Slide 4: Fourier Analysis: Formulation

## Slide 5
General case: G(t)
è
define
è
Fourier transform:
if and time-independent
then k-theorem
no motion
(breathing, blood flow, ...)
short measurement interval
(read out period) -> t = t*

## Slide 6: Signal Model with Gradients
Spin-Echo Signal Model for a Whole Object with a 90˚ Pulse in the Rotating Frame
Signal Model with Gradient Fields
Signal Model for a Whole Object in the lab frame
Trajectory in the k-space

## Slide 7: Initial Phase
Over a time interval [0, t], the “phase factor” is given by the above equation (note that the phase increment rate is an inner product of the gradient vector G and the positional vector r).
If you don’t measure over [t, t+Δt] you accumulate the phase factor.
If you measure over [t, t+Δt] you obtain a single k sample at the location determined by the current phase factor.

## Slide 8: Trajectory in the k-space
Dephasing from midpoint (Eq. (4.42) in BB
Simply put, we can assume the M vector is put into the x-y plane immediately at the midpoint

## Slide 9: MRI Data & Image
Modulus of s(t) IFT of F(kx, ky)
x
y
kx
k-space
ky
s(t) = F(kx,ky)
f(x,y)

## Slide 10: Signal Model with Gradients
Spin-Echo Signal Model for a Whole Object with a 90˚ Pulse in the Rotating Frame
Signal Model with Gradient Fields
Signal Model for a Whole Object in the lab frame
Voxel-specific accumulated phase factor
Relative to ω0
A trajectory point in the k-space after the volumetric integral at time instant t
Voxel-specific angular frequency in the inner product format

## Slide 11: K-Theorem as the Foundation of MRI
This is the standard spin-echo signal model in the rotating frame for a whole object
This defines a “k” point as a function of time in the k-space, still in the rotating frame. Each k point is computed by integrating over the whole object space (the nature of FT)
We need to let the “k” point trace the whole Fourier spectral support so that the inverse Fourier transform can be used to reconstruct the original image
The Fourier imaging model is again approximate, just like in the CT case

## Slide 12: Phase/Frequency Encoding (τ – prep / t - take)
Gx pe_x/2,  Gy pe_y/2
Gx t/2,  Gy pe/2
Gx pe_x/2,  Gy t/2
Gx t/2,  Gy t/2
Signal model used in the undergraduate lecture:

## Slide 13: Outline
More Sequences
Braining Imaging
System Components

## Slide 14: 2D Spin-Echo
t=TE/2
t=0
t=TE
Rephasing
Slice Selection Spin-Echo Reading
Ladder
=
=
Dephasing from midpoint (Eq. (4.42) in BB

## Slide 15
  Reduction of acquisition time
  Truncated Fourier imaging Half Fourier imaging
  FT of a real function f(x,y,z) is Hermitian (real even, imaginary odd)
(-) SNR
(-) artifacts
(-) y-resolution

## Slide 16: Echo Planar Imaging (EPI for T2*)

## Slide 17: Echo Planar Imaging (EPI for T2)

## Slide 18: Spiral Imaging

## Slide 19: Spectroscopy Method 1: PRESS
  (Point Resolved Spectroscopy)

## Slide 20: Outline
More Sequences
Braining Imaging
System Components

## Slide 21
Functional imaging
  Oxygen in the blood influences the MR signal. This is known as the BOLD (blood oxygenation-level dependent) effect.
  active brain cells -> oxygen consumption -> blood flow overcompensates -> oxygen concentration
  deoxyhemoglobin (oxygen-poor hemoglobin): paramagnetic -> T2* -> T2* of active brain tissue > T2* tissue at rest

## Slide 23
https://www.youtube.com/watch?v=IGwMmhltei4

## Slide 24: Outline
More Sequences
Braining Imaging
System Components

## Slide 25: MRI Scanner

## Slide 26: MRI System Diagram
https://nationalmaglab.org/education/magnet-academy/learn-the-basics/stories/mri-a-guided-tour

## Slide 27: Superconducting Magnet
https://www.eeweb.com/mri-machine/

## Slide 28: Gradient Coils
Longitudinal Gradient
Transverse Gradient

## Slide 29: Simple RF Coil
http://mri-q.com/rf-transmit-coils.html

## Slide 30: Practical RF Coil
http://mriquestions.com/birdcage-coil.html
To make sure this rotating field is perpendicular to the B0 field

## Slide 31: Latest Progresses
At the ready.
See the gallery
See it in action
USE CASES:
ICU Settings
Swoop™ is able to perform serial imaging, which allows a patient’s condition to be monitored over time.
Explore
USE CASES:
Emergency Care
With Swoop™ in the emergency room, healthcare providers have an immediate and low-cost imaging option right where they need it, to make informed and timely decisions.
Explore
USE CASES:
Pediatrics
Swoop™ enables immediate scanning right at a child’s bedside.

## Slide 32: Homework
Do the problems #4-7 from the MRI chapter
Graph & explain EPI & PRESS
Midterm Review: https://rensselaer.webex.com/webappng/sites/rensselaer/recording/9667f8c1f77042c6b6d743bdc97636c8/playback