## Slide 1
Last MRI Piece
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
Nov. 2, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Regularized Sparse Reconstruction

## Slide 5: Outline
CS-based MRI Reconstruction
Deep MRI Recon Networks
Fingerprint & SPIN
Network Techniques

## Slide 6: Data Collection in the k-Space

## Slide 7: Data Matrix/Vector

## Slide 8: Fast MRI

## Slide 9: Sparsity in a Transform Domain

## Slide 10: TV-based MRI Reconstruction

## Slide 11: L0 Norm Replaced by L1 Norm
Measurement
Sparsifying
Objective Function consists of two terms:
The first is data fidelity
The second is prior information
= || ||2+

## Slide 12
https://twitter.com/gabrielpeyre/status/1178534938850795520/photo/1
Johnson-Lindenstrauss Lemma

## Slide 13: Random Matrix
https://www.ti.rwth-aachen.de/research/applications/cs.php

## Slide 14: Single Pixel Camera
https://www.researchgate.net/figure/Single-pixel-camera-diagram_fig3_322963461

## Slide 15: Outline
CS-based MRI Reconstruction
Deep MRI Recon Networks
Fingerprint & SPIN
Network Techniques

## Slide 16: AUTOMAP
Conventional Reconstruction
  Via several discrete transforms
    Fourier
    Hilbert
    Radon
Automap Reconstruction
  Direct mapping from raw data to image
Inv. Radon
Inv. Fourier
CT recon
MRI recon

## Slide 17: AUTOMAP
https://doi.org/10.1038/nature25988
Direct mapping between complex-valued signal data and real-valued images
Two fully-connected layers
Three convolutional layers

## Slide 18: Loss Functions Used in Automap

## Slide 19: MRI Data Preparation
Image
64
K-space
Fourier
transform
64
Label
Data

## Slide 20: AUTOMAP
Image
K-space
Inverse
Fourier
Transform
In AUTOMAP, the inverse Fourier transform is learned by a neural network

## Slide 21: Outline
CS-based MRI Reconstruction
Deep MRI Recon Networks
Fingerprint & SPIN
Network Techniques

## Slide 22: MR Fingerprinting
Simultaneously quantification of multiple tissue parameters
Fast scan with good high sensitivity

## Slide 23: MR Fingerprinting
https://doi.org/10.1016/j.cobme.2017.11.001

## Slide 24: Not Optimized Yet
Pulse Sequence Has Not Been Optimized Yet
Dictionary Has Not Been Optimized Yet
Fourier Framework Is Not Perfect Either
Kind of Random Signature

## Slide 25: Synergized Pulsing-Imaging Network
Gy
Gx
RF
T1
T2
ρ
Recon
Network
Dataset
Pulse
Sequence
Truth
Pulse Sequence
Optimization
Network Parameter
Optimization
Loss Function
Data Preprocessing
Data Generation

## Slide 26: Outline
CS-based MRI Reconstruction
Deep MRI Recon Networks
Fingerprint & SPIN
Network Techniques

## Slide 27: Batch Normalization (BN): What?
Batch norm with 2 trainable parameters
and for mean and deviation
https://arxiv.org/pdf/1502.03167v3.pdf

## Slide 28: Batch Normalization (BN): Where?
https://analyticsindiamag.com/hands-on-guide-to-implement-batch-normalization-in-deep-learning-models/

## Slide 29: Batch Normalization: A Key Trick
https://www.frontiersin.org/articles/10.3389/fonc.2017.00315/full

## Slide 30: Batch Normalization (BN): Why?
https://towardsdatascience.com/curse-of-batch-normalization-8e6dd20bc304

## Slide 31: Batch Normalization (BN): Why?

## Slide 33: ResNet: Key Idea
Researchers found that when the number of layers increases, the testing accuracy degrades
If the added layers can be constructed as identity mappings, a deeper model should not produce higher errors than its shallower counterparts
Instead of letting the network learn the mapping, ResNet allows the gradient flow directly to later layers from earlier layers

## Slide 34: Resnet: Implementation
Autoencoder2.ipynb adds resnet block after each convolutional layers

## Slide 35: DenseNet: Example
Autoencoder3.ipynb adds DenseNet into
the network

## Slide 36: Generator Network
This is the same as the denoising network as hands-on 3.

## Slide 37: GAN is Optional
Please note the the LS-GAN is optional. Using GAN will significantly increase training time. You can simple change the “True” to “False” to de-activate GAN.
We usually train the discriminator much more than the generator.
In this case, I trained the discriminator 4 times and then the generator 1 time.
You can change “4” to “3” if you like by setting the “disc_itres” variable.

## Slide 38: Least Squares GAN (LS-GAN)
This is the simplest GAN to implement and understand.
Generator (G)
Input
Results
Discriminator (D)
Real? Fake?
Ground Truth Image

## Slide 39: Homework
Experiment with Autoencoder2.ipynb and Autoencoder3.ipynb to use the Resnet and Dense blocks discussed before.
Please run all the codes and report the results.