## Slide 1
Nuclear Physics
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
November 5, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Outline
Introduction
Beyond CT & MRI
Nuclear Imaging
Similarities & Differences
Nuclear Physics
  Single & Paired γ Photon Emission
  Imaging Models
SPECT & PET Systems
Key Components
Image Quality Issues
Novel Nuclear Imaging

## Slide 4: Earth Tomography
Tomography

## Slide 5: Water Tomography

## Slide 6: X-ray versus γ-ray Radiation

## Slide 7: Marie Curie

## Slide 8: Michael Ter-Pogossian
Michel Matthew Ter-Pogossian (April 21, 1925 – June 19, 1996) was one of the pioneers of positron emission tomography (PET), the first functional brain imaging technology. PET can evaluate the brain during mental processes versus structural imaging by conventional CT.

## Slide 9: External vs Internal Source
Gamma photon
Gamma photon

## Slide 10: Molecular/Tracer Sensitivity
The mole is the unit (SI) for amount of substance, defined as the amount of substance as many representative particles as there are atoms in 12 grams of carbon-12 (12C). This number is the Avogadro constant, ~6.022140857×1023 mol−1. The mole has the unit symbol mol.
Mole: SI Unit; Amount of Substance
mol/m3: SI Unit; Concentration
Mole and Molar: Impractical
M: mol/dm3
mol/m3=10-3mol/dm3=10-3M=1mM

## Slide 11: Tracer Sensitivity
From an R01 proposal led by Changqing Li, in collaboration with Jeffrey Anker and Ge Wang

## Slide 12: Similarities & Differences
Similarities
Similar Energy Levels
Straight Ray Geometries
Line Integrals
Tomographic Recons
Differences
External vs Internal Sources
High vs Low Flux/Resolution
Low vs High Sensitivity
Anatomical vs Functional

## Slide 13: PET-CT Scanner

## Slide 14: PET-CT for Cancer Imaging

## Slide 15: Outline
Introduction
Beyond CT & MRI
Nuclear Imaging
Similarities & Differences
Nuclear Physics
  Single & Paired γ Photon Emission
  Imaging Models
SPECT & PET Systems
Key Components
Image Quality Issues
Novel Nuclear Imaging

## Slide 16
Radionuclides
  Radioactive decay modes
    Nucleon emission/capture
    b- emission
    Electron capture (EC)
    Positron emission (b+ decay)
  Nucleon emission/capture
    Heavy damage to tissue -> used in radiotherapy
    Example: a emission: (kinetic energy: 3-7 MeV)

## Slide 17
atomic number: the number of protons in the nucleus of an atom
mass number: the sum of the number of nucleons (neutrons and protons) in an atomic nucleus
isotopes of a chemical element have the same atomic number (number of protons in the nucleus) but have different mass numbers (from having different numbers of neutrons in the nucleus).
Example: 12Carbon and 14C (6 protons and 6 resp. 8 neutrons)
Different isotopes of the same element cannot have the same mass number, but isotopes of different elements often do have the same mass number
Examples: 99Mo and 99Tc
14C (6 protons and 8 neutrons) and 14Nitrogen (7 protons and 7 neutrons)

## Slide 18
b- emission: tissue damage
  immediate release of g-photon
  metastable state (preferred) -> delayed release of g –photon
    e.g. 99Mo (half life = 66 h) -> 99mTc (half life = 6 h) -> 99Tc
    Eg = 140 keV
OR

atomic number + 1
same mass number

## Slide 19
Electron capture (EC)

e.g. 123I (half life = 13 h)
atomic number - 1
same mass number

## Slide 20
Positron emission (b+ decay)
(+ g-photon; not used)
after 10-9 s ~ few mm: annihilation
511 keV
180o
511 keV
+
_
atomic number - 1
same mass number
e+
  e.g. 18F (half life = 109 min)

## Slide 21
Statistics
  # detected photons << in X-ray imaging è noise
  the exact moment of the decay cannot be predicted
  the decay probability per time unit a is known -> the decay per time unit = (constant fraction a) N(t) = # expected radioactive isotopes at time t -> exponential decay with time constant t=1/a -> half life T1/2:
    (fractions of seconds to billions of years)
    the effective half life TE also depends on the biological excretion:
    (TB = biological half life)
t
N(0)
50%
37%
T1/2

## Slide 22: Similar to Beer’s Law
N(0)
N(l)
l
μ
ΔN=-μN Δl
Δl
N(0)
N(t)
α
ΔN=-αN Δt
Gamma ray emission over Δt
# expected radioactive isotopes at t

## Slide 23
  Unit of radioactivity:
    1 Becquerel (Bq) = 1 expected desintegration / s imaging ~ 100 MBq
    1 Curie (Ci) = 37 MBq (Ci is the older unit)
  probability of measuring n photons when r photons are expected is Poisson distribution:
  = average expected photons = standard deviation

## Slide 24
Data acquisition
  Detectors
    Scintillator + photomultiplier tube (PMT) (still used) SPECT crystal: optimized for 99mTc -> 140 keV -> NaI(Tl) PET crystal: optimized for 511 keV -> BGO, GSO, LSO
    Scintillator + photodiode
    Photoconductor (direct conversion)
scintillator
PMT
g-photons
visible light
electric
current
photocathode
e-
dynodes (+)

## Slide 25
  Interaction of g photons with matter E ~ 60 - 600 keV (e.g. E 99mTc = 140 keV)
  attenuation is due to Compton scatter and photo-electric absorption
    single photon emission:
    (m = linear attenuation coefficient)
    example: median of penetration depth for 99mTc (140 keV) = 4.5 cm
    photon pair emission (positron emission):
s
s=a
s=d
s
s=a
s=d2
g
g
s=d1
the attenuation is identical for each point along the projection line

## Slide 26
  Collimation -> measuring projection lines
    SPECT: thick lead plate with cylindrical holes
    PET: electronic collimation No absorption by lead collimator è sensitivity PET > sensitivity SPECT
g
g
g

## Slide 27
Fourier reconstruction and filtered backprojection (FBP)
  Detected number of photons
  SPECT:
  PET:
  Radon transform:
    Not directly applicable due to attenuation!
  Solution: transmission scan -> m -> FBP for PET
x
y
r
q
f(x,y)
s

## Slide 28: Outline
Introduction
Beyond CT & MRI
Nuclear Imaging
Similarities & Differences
Nuclear Physics
  Single & Paired γ Photon Emission
  Imaging Models
SPECT & PET Systems
Key Components
Image Quality Issues
Novel Nuclear Imaging

## Slide 29: SPECT System

## Slide 30: SPECT Images

## Slide 31: Noise2Noise
http://www.sanko-shoko.net/note.php?id=pn13 (Google Translation: Japanese to English; info@sanko-shoko.net)

## Slide 32
Heuristic Method for Attenuation Correction
Heuristics for Attenuation Correction

## Slide 33
Smart Idea Illustrated

## Slide 34: PET System

## Slide 35: PET Sinogram
Emission Coincidence Detection
Group Data into Projection
(Line Of Response (LOR))
Form a Sinogram




## Slide 36
  Result
    Organized as projection images
    Organized as a sinogram
  Photon position: PMT ~ a few cm wide -> (xi,yi) = position of PMT i [t0,t1] ~ a few 100 ns
(50x40x1 cm)
(30-70 PMTs)

## Slide 37
  All new PET systems are PET/CT (used for attenuation correction)
  photon energy in PET = 511 keV <-> in CT: spectrum
    spectrum approximated by a single average energy (the effective energy) e.g. 140 kV -> effective energy 70 keV
    piecewise linear relation between mPET and mCT
air
Attenuation Correction

## Slide 38: Virtual Monochromatic CT Imaging
Conv+ReLU
Conv+ReLU
Conv+ReLU
Linear
Quadratic
Cubic
Conv+ReLU
Residual Block
• • •
Residual Block
Conv+ReLU
Conv+ReLU
Poly CT
Image
Mono CT
Image

## Slide 39: Outline
Introduction
Beyond CT & MRI
Nuclear Imaging
Similarities & Differences
Nuclear Physics
  Single & Paired γ Photon Emission
  Imaging Models
SPECT & PET Systems
Key Components
Image Quality Issues
Novel Nuclear Imaging

## Slide 40: Whole Body PET

## Slide 41: Time-of-Flight Based Reconstruction
Kwon, S.I., Ota, R., Berg, E. et al. Ultrafast timing enables reconstruction-free positron emission imaging. Nat. Photon. (2021). https://doi.org/10.1038/s41566-021-00871-2

## Slide 42: J-PET Prototype

## Slide 43: oPs Annihilation & Detection

## Slide 44: Homework