## Slide 1
Optical Imaging
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
November 16, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality I | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Image Quality II | 12/03 | Stability, Interpretability, & Others
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Outline
Optical Coherent Tomography (OCT)
– Basic Idea
– Further Analysis
– OCT System & Applications
Radiative Transfer Equation (RTE)
– Key Definitions
– Derivation
– Monte-Carlo Simulation
– Diffusive Imaging

## Slide 4: Optical Coherence Tomography (OCT)
Confocal
1mm
1cm
10cm
Penetration Depth (log)
1µm
10µm
100µm
1mm
Resolution (log)
OCT
Ultrasound
Standard Clinical
Scanners

## Slide 5: Double Slit Experiment & Interferometer

## Slide 6: Small Offset, Big Power Change

## Slide 7: Instantaneous Power

## Slide 8: Average Power

## Slide 9: Interference Intensity (Power/Area)
Note (I denotes Intensity here)
Intensity: power per unit area
Power: energy per unit time

## Slide 10: Michelson Interferometer

## Slide 11: Pattern with Partially Coherent Light

## Slide 12: Examples with Partial Coherence

## Slide 13: In the Limiting Case

## Slide 14: Fourier Transform Pair

## Slide 15: OCT - Optical Analog of US

## Slide 16: Catheter-based OCT
Courtesy of Dr. Yu Chen & LightLab Imaging, Inc.
stationary
fiber
rotary fiber
lens
Motor
stationary
fiber
lens
Motor
catheter sheath
Rotary Design
fiber
connector
fiber
connector
fiber
catheter sheath
Push-Pull Design
Proximal
Actuation
Distal Interface

## Slide 17: Optical Biopsy
Log Reflection
250 µm
250 µm
F
o
v
ea
Optic Disc
Chor
iocapillar
is
Vitreous
NFL
Photoreceptors
Hee et al. 1995
Ophthalmology
Cardiology
Gastroenterology
Developmental Biology

## Slide 18: Outline
Optical Coherent Tomography (OCT)
– Basic Idea
– Further Analysis
– OCT System & Applications
Radiative Transfer Equation (RTE)
– Key Definitions
– Derivation
– Monte-Carlo Simulation
– Diffusive Imaging

## Slide 19: Green Book Chapter 8

## Slide 20: Key Definitions Made Clear
We can first think the normal of dA parallel to the direction of interest, and then dA can be rotated with a cosine correction to find the projected cross-section/area.
In the context, radiances along various directions do not interfere. Fluence rate gives the absorbed power in the volumetric element.

## Slide 21: Further Explanation
Radiance is flux (through an area) emitted from a source distribution which can be decomposed into point sources. Intensity of a point source is normalized with respect to area, angle, and time, and taking the limit.

## Slide 22: RTE Made Easy
Energy density change must be explained by source (emission), divergence (propagation/geometrical), scattering (interaction), and absorption (heat)

## Slide 23: Scattering in Tissue
Cell Structure
10-30 m
(1 m = 10-6 m)

## Slide 24: MFP & TMFP
http://www.nature.com/nmeth/journal/v7/n8/pdf/nmeth.1483.pdf
Mean Free Path (MFP):
Average path length before an event (absorption / scattering)
Transport Mean Free Path (TMFP):
Average distance a photon moves in its original direction after an infinite number of scattering collisions

## Slide 25: Henyey-Greenstein Phase Function
http://www2.ensc.sfu.ca/~glennc/e376/e376l7.pdf
Solid Angular Span
Probability

## Slide 27: Multi-layered Tissue Model
LH Wang, et al. MCML - Monte-Carlo modeling of light transport in multilayered tissues. Computer methods and programs In biomedicine, 47 (2): 131-146, 1995

## Slide 28: Typical Phase Function Data

## Slide 30: Tetrahedron-based MC simulation
Mean free path of a photon in tissue is small (<0.1mm)
A mesh with simpler shape shall be more efficient for the photon-mesh intersection test
Tetrahedron: Simple yet flexible building block

## Slide 31: Monte-Carlo Simulator
Shen HO, Wang G: A tetrahedron-based inhomogeneous Monte Carlo optical simulator. Phys. Med. Biol. 55:947, 2010

## Slide 32: Homework
In the background there are four light-emitting pixels with intensities a, b, c and d respectively. You have a single pixel camera with an adjustable field of view. Mode 1: Image each pixel with 10 exposures, each lasting 1 second. That is, you have 10 readings for each pixel. Mode 2: The same as the first mode but in each exposure you cover two pixels (hence, about twice as many photons as that you get in Mode 1. Which mode gives you a better estimation of a, b, c, and d?
Describe the OCT principle & the RTE derivation
a
b
c
d
a
b
c
d