## Slide 1
Diagnostic Performance: Good to Use?
Ge Wang
AI-based X-ray Imaging System (AXIS) Lab
Rensselaer Polytechnic Institute, Troy, New York, USA
November 30, 2021

## Slide 2: MI Schedule for F21
Tue | Topic | Fri | Topic
08/31 | Introduction | 09/03 | Neuron, Network & Backpropagation
09/07 | No Class | 09/10 | Hands-on 1: Python, Colab, & TensorF
09/14 | Architectures & Training | 09/19 | Hands-on 2: MNIST Classification
09/21 | Image Quality | 09/24 | CT Physics
09/28 | CT Reconstruction | 10/01 | Deep CT Reconstruction
10/05 | Hands-on 3: CT Networks | 10/08 | More CT Contents
10/12 | MRI Physics | 10/15 | Spin-Echo
10/19 | K-Space Theorem | 10/22 | More MRI Contents
10/26 | Mid Exam | 10/29 | Deep MRI Reconstruction
11/02 | Hands-on 4: MRI Networks | 11/05 | Nuclear Physics
11/09 | Nuclear Imaging | 11/12 | US Imaging
11/16 | Optical Imaging | 11/19 | Multimodality Imaging
11/23 | Hands-on 5: Image Conversion | 11/26 | Thanksgiving
11/30 | Diagnostic Performance | 12/03 | Closing Remarks
12/07 | Overview | 12/10 | Final Exam
Office Hour: Teaching Day 5-6pm: https://rensselaer.webex.com/meet/wangg6

## Slide 3: Outline
Momentum of Deep Imaging / AI in Medicine
AI Software as Devices & FDA Approval
Traditional Metrics
GRACE Challenges
Generalizability
Robustness
Autonomy
Certifiability
Explainability

## Slide 4: Importance of Medical Imaging
Number of Imaging Exams per 1,000 Person-Years in USA
Smith-Bindman R, et al: JAMA 322(9):843-856, doi:10.1001/jama.2019.11456, 2019 https://www.medgadget.com/

## Slide 5: Challenges in Medical Imaging
Shaper Resolution
Better Signal-to-Noise Ratio
Faster Speed
Richer Information
Higher Sensitivity & Specificity
Lower Radiation & Contrast Agent Dose
Less Image Artifacts
Cheaper Imaging Cost
More flexibility
…
Cardiac CT Image Metallic Artifacts from Pacemaker Leads

## Slide 6: Roadmap for Deep Imaging (2016)
Data
Acquisition
Image
Reconstruction
Features
Radiomics
Actions
Therapeutics
Wang G, Perspective on deep imaging. IEEE Access, DOI:10.1109/ACCESS.2016.2624938, 2016
Featured

## Slide 7: Review on Deep Tomographic Imaging (2020)
Wang G, Ye JC, De Man B: Deep learning for tomographic image reconstruction. Nature Machine Intelligence, DOI: 10.1038/s42256-020-00273-z, 2020

## Slide 8: RPI-GRC Collaborations in CT
IMAGE GENERATION
SETUP & SCAN
INTERPRETATION
CALS & CORREC-TIONS
RECON
SCOUT
SCAN
SCAN SETUP
SCAN
POST-PROCES-SING
IMAGE ANALYSIS
GENERATE REPORT
CONTRAST
ECG
PATIENT INFO
READING
Direct sinogram
analysis
Super-resolution
Denoising
Radiomics &
Rawdiomics
Cardiac CT
Photon-counting CT
PROPOSAL
PAST PROJECT +
NEW PROPOSAL
PAST
ACTIVE
ACTIVE
ACTIVE
Ultra-low-dose screening
MAR for radiation therapy planning
ACTIVE

## Slide 9: TAC:(“Deep learning” AND “Medical” AND “Image” AND “Reconstruct*”)
Deep Recon Papers in Scopus

## Slide 10
Sven Zuehlsdorff, Siemens Healthineers

## Slide 11: TAC:((“Deep learning" OR “Artificial intelligence" OR AI OR “Machine learning") AND (Tomographic OR Tomography) AND Reconstruction)
AI Imaging Patents in PatSeer

## Slide 12
Where Are We on Gartner Curve?

## Slide 13: Outline
Momentum of Deep Imaging / AI in Medicine
AI Software as Devices & FDA Approval
Traditional Metrics
GRACE Challenges
Generalizability
Robustness
Autonomy
Certifiability
Explainability

## Slide 14
FDA approved 130+ medical AI devices,
~50% over last year
FDA-approved Medical AI Devices

## Slide 16
https://www.fda.gov/files/medical%20devices/published/US-FDA-Artificial-Intelligence-and-Machine-Learning-Discussion-Paper.pdf
https://www.fda.gov/media/145022/download
https://www.fda.gov/medical-devices/software-medical-device-samd/good-machine-learning-practice-medical-device-development-guiding-principles

## Slide 17
https://www.fda.gov/medical-devices/software-medical-device-samd/good-machine-learning-practice-medical-device-development-guiding-principles

## Slide 18
FDA’s Total Product Life Cycle in the AI/ML Workflow

## Slide 20: Outline
Momentum of Deep Imaging / AI in Medicine
AI Software as Devices & FDA Approval
Traditional Metrics
GRACE Challenges
Generalizability
Robustness
Autonomy
Certifiability
Explainability

## Slide 21: Task-specific Measures
Montagnon, E., Cerny, M., Cadrin-Chênevert, A. et al. Deep learning workflow in radiology: a primer. Insights Imaging 11, 22 (2020). https://doi.org/10.1186/s13244-019-0832-5

## Slide 22: Four Cases (Two Error Types)
Edge Not
True Positive | False Negative
False Positive | True Negative
Not Edge
Detection Report
Ground Truth
Type I Error
Type II Error

## Slide 23: Sensitivity & Specificity
Sensitivity=TP/(TP+FN)
Specificity =TN/(TN+FP)
Likelihood of a positive case
Or % of edges we find
How sure we say YES
Likelihood of a negative case
Or % of non-edges we find
How sure we say NOPE

## Slide 24: Receiver Operating Characteristic
FP Frac=1-Specificity
Sensitivity
Any detector on this side can do better by flipping its output
Report sensitivity & specificity
Give an ROC curve
Average over many data
Specificity =TN/(TN+FP)

## Slide 25: Big Data
Montagnon, E., Cerny, M., Cadrin-Chênevert, A. et al. Deep learning workflow in radiology: a primer. Insights Imaging 11, 22 (2020). https://doi.org/10.1186/s13244-019-0832-5

## Slide 26: Training, Validation, & Testing
Montagnon, E., Cerny, M., Cadrin-Chênevert, A. et al. Deep learning workflow in radiology: a primer. Insights Imaging 11, 22 (2020). https://doi.org/10.1186/s13244-019-0832-5

## Slide 28: Outline
Momentum of Deep Imaging / AI in Medicine
AI Software as Devices & FDA Approval
Traditional Metrics
GRACE Challenges
Generalizability
Robustness
Autonomy
Certifiability
Explainability

## Slide 29: PURGE: Major AI Challenges
AI-based X-ray Imaging System (AXIS) Lab
Privacy
Uncertainty
Robustness
Generalizability
Explainability
Addressing Limitations of Deep Medical Imaging
Deep Imaging Analytics Lab

## Slide 30
Generalizability
Robustness
Explainability

## Slide 31
FDA approved 130+ medical AI devices,
~50% over last year
Generalizability Issue

## Slide 32
ChestXpert – “SHC” by Stanford U
224,316 chest radiographs labeled for 14 common chest observations at Stanford Health Care
Collected from 2002 to 2017
439GB (Downloadable after Registration)
https://stanfordmlgroup.github.io/competitions/chexpert/

## Slide 33
227,835 studies for 64,588 patients at Beth Israel Deaconess Med. Center
377,110 images collected from 2011 to 2016
4.7TB (Available after registration & training)
https://mimic-cxr.mit.edu/
MIMIC-CXR – “BIDMC” by MIT

## Slide 34
108,948 frontal view X-ray images with eight disease labels
Collected from 1992 to 2015
45.7GB (Freely downloadable)
https://nihcc.app.box.com/v/ChestXray-NIHCC
ChestX-ray8 – “NIH” by NIH

## Slide 35
They performed a case study on the risk the AI model analyzing chest X-rays for signs of collapsed lungs
The algorithms were ~10% less accurate at other sites
Accuracy was higher on BIDMC for White than Black
Key Results

## Slide 36
“Evaluating the performance of AI devices in multiple clinical sites is important for ensuring that the algorithms perform well across representative populations. Encouraging prospective studies with comparison to standard of care reduces the risk of harmful overfitting and more accurately captures true clinical outcomes. Post-market surveillance of AI devices is also needed for understanding and measurement of unintended outcomes and biases that are not detected in prospective, multi-center trials.”
Recommendation

## Slide 37: Robustness Issue
https://arxiv.org/pdf/1712.07107.pdf

## Slide 39: Instabilities of Deep Reconstruction

## Slide 40: General Answer: Superiority Principle
Classic
Result
Superior Image Quality
Classic
Algorithm
Big Data
Neural Network
Neural Network
Neural Network
Neural Network

## Slide 41: Specific Answer: ACID
Analytic, Compressive, Iterative Deep Network

## Slide 42: Best Solution in the Intersection
Sparsity
Data Prior
Data Fidelity
Best Solution
Wu WW, Hu DL, Cong WX, Shan HM, Wang SY, Chuang N, Yan PK, Yu HY, Vardhanabhuti V, Wang G: Stabilizing Deep Tomographic Reconstruction Networks. https://arxiv.org/abs/2008.01846, v1, v2, 2020; v3, v4, 2021
Synergization for Stabilization:
Analytic Compressive Iterative Deep (ACID) Framework

## Slide 43: Illustration of Reconstruction Workflow

## Slide 44: Lipschitz Continuity

## Slide 45
Ground Truth
Ell-50
CS
ACID
Type I Instability – New Artifacts Generated / Type I Error / False Positive
Type II Instability – Small Features Undetected / Type II Error / False Negative
Ground Truth
DAGAN,
CS
ACID
Wu WW, Hu DL, Cong WX, Shan HM, Wang SY, Chuang N, Yan PK, Yu HY, Vardhanabhuti V, Wang G: Stabilizing Deep Tomographic Reconstruction Networks. https://arxiv.org/abs/2008.01846, v1, v2, 2020; v3, v4, 2021

## Slide 46: Explainability Issue
F. -L. Fan, J. Xiong, M. Li and G. Wang, "On Interpretability of Artificial Neural Networks: A Survey," in IEEE Transactions on Radiation and Plasma Medical Sciences, doi: 10.1109/TRPMS.2021.3066428, 2021

## Slide 47
Interest in Interpretability
F. -L. Fan, J. Xiong, M. Li and G. Wang, "On Interpretability of Artificial Neural Networks: A Survey," IEEE Transactions on Radiation and Plasma Medical Sciences, doi: 10.1109/TRPMS.2021.3066428, 2021
Notes: There is one interesting point for the curves containing deep learning. You can see that the number of articles is zero until recent years. This is probably because deep learning is a newly coined concept.

## Slide 48
where is a regularization term, is the network,
and is the output.
know what information is lost by the model.
Image Inverting
A. Mahendran, A. Vedaldi: Understanding deep image representations by inverting them. In CVPR, 5188-5196, 2015.
Notes: 1. There is the information loss when a neural network processes an image. The inverting-based method is to construct an image that can copy the features of the original image.

## Slide 49
Activation Maximization
Activation maximization applied on MNIST
“Deep Dream”
Generate an input image that maximizes filter output activations
A. Nguyen, A. Dosovitskiy, J. Yosinski, T. Brox, J. Clune: Synthesizing the preferred inputs for neurons in neural networks via deep generator networks. In NeurIPS 3395-3403, 2016.

## Slide 50
Block some neurons in every layer and check network performance
Important Data Path
Y. Wang, H. Su, B. Zhang, X. Hu: Interpret neural networks by identifying critical data routing paths, In CVPR, 8906-8914, 2018
Identify the important data routing path in a network.
Important node
Negligible node
Q: What is the important data routing path in a network?

## Slide 51
Compute the receptive field of a neuron
interpret the role of a neuron
Neuron Dissection
D. Bau, et al. Understanding the role of individual units in a deep neural network.
Proceedings of the National Academy of Sciences, 117:30071-8, 2020.

## Slide 52
Q: How will the model’s prediction change without a given training point?
Influence Function
Koh PW, Liang P: Understanding black-box predictions via influence functions.
Proceedings of International Conference on Machine Learning, 1885-1894, 2017
Identify which in the dataset is harmful for the prediction of a test image
Removing it reduces the loss
Efficient approximation

## Slide 53
Class Activation Map
Zhou BL, Khosla A, Lapedriza A, Oliva A, Torralba A: Learning Deep Features for Discriminative Localization. https://arxiv.org/abs/1512.04150, 2015

## Slide 54
Knowledge Distillation
Train a student model from a teacher network
G. Hinton, O. Vinyals, J. Dean: Distilling the knowledge in a neural network. arXiv:1503.02531, 2015

## Slide 55
Counterfactual Case
Q: What is “closest possible case” to yield a different outcome?
is a different label, and is a distance
S. Wachter, B. Mittelstadt, C. Russell: Counterfactual explanations without opening the black box: Automated decisions and the GDPR. Harv. JL & Tech., 31:841, 2017

## Slide 56: Homework
Explain the interpretability, generalizability, and robustness of deep networks in your own words and with examples (review this PPT file and search on Google if needed)

## Slide 57: Homework (Find AUC for Modified Data)
+2
+2
+2
+2
+2
+2
+2
+2
+2
+2