## Slide 1
38655 BMED-2300-02
Lecture 21: Ultrasound Imaging
Ge Wang, PhD
Biomedical Imaging Center
CBIS/BME, RPI
wangg6@rpi.edu
April 17, 2018

## Slide 2
Tue | Topic | Fri | Topic
1/16 | Introduction | 1/19 | MatLab I (Basics)
1/23 | System | 1/26 | Convolution
1/30 | Fourier Series | 2/02 | Fourier Transform
2/06 | Signal Processing | 2/09 | Discrete FT & FFT
2/13 | MatLab II (Homework) | 2/16 | Network
2/20 | No Class | 2/23 | Exam I
2/27 | Quality & Performance | 3/02 | X-ray & Radiography
3/06 | CT Reconstruction | 3/09 | CT Scanner
3/20 | MatLab III (CT) | 3/23 | Nuclear Physics
3/27 | PET & SPECT | 3/30 | MRI I
4/03 | Exam II | 4/06 | MRI II
4/10 | MRI III | 4/13 | Ultrasound I
4/17 | Ultrasound II | 4/20 | Optical Imaging
4/24 | Machine Learning | 4/27 | Exam III
BB Schedule for S18
Office Hour: Ge Tue & Fri 3-4 @ CBIS 3209 | wangg6@rpi.edu
Kathleen Mon 4-5 & Thurs 4-5 @ JEC 7045 | chens18@rpi.edu

## Slide 3: Ultrasound Imaging Methods
Imaging Modes
A-, M-, B, C-Mode Scan
Huygens' Principle
Array-based Scanning & Beam Forming
Doppler Imaging
Doppler Frequency
Continuous Wave & Pulsed Mode
Echo Correlation & Color Doppler
Image Artifacts
New Things

## Slide 4: US Imaging Modes
A mode (A = amplitude)
2 x distance = c x time
c for the different tissues

## Slide 5
B mode (B = brightness)

## Slide 6: M-Mode

## Slide 7: C-Mode
C-mode imaging produces a coronal image by gating A-mode data to a specific depth. A half-silvered mirror can be used to merge the body surface with his/her interior without a head-mounted display.
https://www.sciencedirect.com/science/article/pii/S1076633205001121

## Slide 8: Types of US Arrays

## Slide 9: Linear Sequential Array

## Slide 10: Huygens' Principle
Any current point on a wave front is a new source, and all such new “secondary sources” collectively determine a future wave front.

## Slide 11: Examples

## Slide 12: Transducer Array as Wave Front
2D Array

## Slide 13: Linear Phased Array
https://www.youtube.com/watch?v=zGpoi-Y65JM

## Slide 14: 2D Phased Array

## Slide 15: Annular Array

## Slide 16: Beam Forming

## Slide 17: Beam Forming & Scanning
http://www.ob-ultrasound.net/lineararrays.html

## Slide 18: Compound Imaging

## Slide 19: Ultrasound Imaging Methods
Imaging Modes
A-, M-, B, C-Mode Scan
Huygens' Principle
Array-based Scanning & Beam Forming
Doppler Imaging
Doppler Frequency
Continuous Wave & Pulsed Mode
Echo Correlation & Color Doppler
Image Artifacts
New Things

## Slide 21: Doppler Shift in Your Book

## Slide 22: Doppler Shift

## Slide 23: Why?
Transducer
Object
c
Speed c = Frequency*Wavelength
In a unit time, 4 pulse into the object
Transducer
Object
c
Speed c = Frequency*Wavelength
In a unit time, 8 pulse into the object
Stationary
Moving
c

## Slide 24
Continuous wave (CW)
  Use two crystals, one to send and one to receive
  Doppler signals are obtained from all vessels in the field of view
Pulsed wave (PW)
  The transducer sends and receives the signal
  The returned signal is gated for the desired depth
Echo Correlation (CF)
  Echo signature is in motion
  Correlation maximization
Color Flow (CF)
  Doppler equivalent of B-mode
  Velocity is encoded as a color
Doppler Imaging

## Slide 25
Continuous wave (CW)
  In a CW Doppler system there must be separate transmission and reception of ultrasound – transducer with two separate elements
  The region from which Doppler signals are obtained is determined by the overlap of the transmit and receive ultrasound beams
Ultrasound Imaging

## Slide 26: Doppler Signal Detection

## Slide 27
Pulsed wave (PW)
  In a PW Doppler system it is possible to use the same transducer element for both transmit and receive
  The region from which Doppler signals are obtained is determined by the depth of the gate and the length of the gate, which can both be controlled by the operator
Ultrasound Imaging

## Slide 28: Pulsed Doppler Imaging

## Slide 30
  Pulsed Wave (PW) Doppler
    does not make use of the Doppler principle!
    Only 1 sample taken from the backscattered signal at a well-defined time delay after transmission (range gate)
M-mode acquisition

## Slide 31: Pulsed Wave (PW) Doppler

## Slide 32: Correlation Method

## Slide 33
US Doppler - Display
  Doppler information is often combined with real-time B-mode
  2D representation of the speed of the blood flow on a grey-scale image
  Spectral Doppler: spectral display the brightness is related to the amplitude of the Doppler signal component at that particular frequency
Color Doppler
Red – towards transducer
Blue – away from transducer
Green - Variance

## Slide 34: Spectral Doppler Imaging

## Slide 35: Ultrasound Imaging Methods
Imaging Modes
A-, M-, B, C-Mode Scan
Huygens' Principle
Array-based Scanning & Beam Forming
Doppler Imaging
Doppler Frequency
Continuous Wave & Pulsed Mode
Echo Correlation & Color Doppler
Image Artifacts
New Things

## Slide 36: Time Gain Compensation

## Slide 37
Artifacts
  interference pattern contains side lobes
  reverberations

## Slide 38: US Artifacts

## Slide 39: Ultrasound Imaging Methods
Imaging Modes
A-, M-, B, C-Mode Scan
Huygens' Principle
Array-based Scanning & Beam Forming
Doppler Imaging
Doppler Frequency
Continuous Wave & Pulsed Mode
Echo Correlation & Color Doppler
Image Artifacts
New Things

## Slide 40: US & MRI Fusion
Image Fusion
PreOp. MRI
Preoperative
Temporal resolution
Spatial resolution
Sensitivity/Specificity
Cost effective
Tracked Real-time US
Intraoperative
Temporal resolution
Spatial resolution
Cost effective
Sensitivity/Specificity
Dr. Pingkun Yan’s work with NIH, Philips

## Slide 41: US & MRI Fusion
Before 0.239
After 0.9946
Dr. Pingkun Yan’s work with NIH, Philips

## Slide 42: Photoacoustic Tomography
Toumia et al. (2016); https://pubs.acs.org/doi/10.1021/acsami.6b04184

## Slide 43: Photoacoustic Tomography

## Slide 44: iUS in iPhone
v (RBC velocity) +
s (cross-area) –
p (pressure) +
d (distance) +/-

## Slide 45: Homework: Review Green Chaps
Transfer: Familiarize/Repeat/Remember
Inspire: Understand/Create/Innovate
Closed: Book/PPT/Solutions/Answers
Open: Problems/Ideas/Tools/Motives